## Sheet1
Minutes | datetime | Control_Status 1 - off 2 - cool 3 - heat | System_Mode 1 - off 2 - auto 3 - cool 4 - heat | Reversing_Valve_Status 0 - heating 1 - cooling | Room_Temperature [F] | Ebtron_Return_Air_Temp [F] | Ebtron_Supply_Air_Temp [F] | Outside_Air_Temp [F] | Ebtron_Supply_Airflow [CFM] | Ebtron_Return_Airflow [CFM] | PRB-ActivePower28 [W] | PRB-ActivePower42 [W] | Total Power [W]
0 | 2021-03-06 05:33 | 3 | 2 | 0 | 66.7 | 65.36 | 61.15 | 46.1 | 129.45 | 122.57 | 47.3824 | 30.1813 | 77.5637
1 | 2021-03-06 05:34 | 3 | 2 | 0 | 66.5 | 65.32 | 61.09 | 45.2 | 157.9 | 125.23 | 46.672 | 29.6827 | 76.3546
2 | 2021-03-06 05:35 | 3 | 2 | 0 | 66.3 | 65.39 | 60.91 | 44.5 | 158.73 | 142.42 | 46.8526 | 30.5432 | 77.3958
3 | 2021-03-06 05:36 | 3 | 2 | 0 | 66.2 | 65.32 | 60.76 | 43.8 | 162.39 | 125.13 | 46.8548 | 30.1839 | 77.0387
4 | 2021-03-06 05:37 | 3 | 2 | 0 | 66.1 | 65.4 | 60.56 | 43.1 | 192.67 | 149.84 | 47.6473 | 30.6214 | 78.2688
5 | 2021-03-06 05:38 | 3 | 2 | 0 | 66.1 | 65.46 | 60.41 | 42.8 | 187.77 | 157.56 | 48.8568 | 31.9455 | 80.8023
6 | 2021-03-06 05:39 | 3 | 2 | 0 | 66.1 | 65.49 | 60.37 | 42.3 | 221.41 | 165.6 | 48.9461 | 31.9283 | 80.8744
7 | 2021-03-06 05:40 | 3 | 2 | 0 | 66.1 | 65.55 | 60.13 | 42.1 | 227.38 | 169.18 | 49.3395 | 32.7071 | 82.0466
8 | 2021-03-06 05:41 | 3 | 2 | 0 | 66.1 | 65.63 | 60 | 41.8 | 254.11 | 184.93 | 49.5081 | 32.3555 | 81.8636
9 | 2021-03-06 05:42 | 3 | 2 | 0 | 66 | 65.63 | 59.87 | 41.7 | 257.3 | 181.4 | 50.6584 | 33.5657 | 84.2241
10 | 2021-03-06 05:43 | 3 | 2 | 0 | 66 | 65.71 | 59.77 | 41.6 | 287.41 | 210.36 | 51.1521 | 34.3389 | 85.491
11 | 2021-03-06 05:44 | 3 | 2 | 0 | 66 | 65.74 | 59.81 | 41.7 | 294.49 | 220.74 | 52.5487 | 35.4657 | 88.0144
12 | 2021-03-06 05:45 | 3 | 2 | 0 | 65.9 | 65.84 | 59.88 | 41.8 | 316.57 | 231.74 | 52.6046 | 34.8733 | 87.4779
13 | 2021-03-06 05:46 | 3 | 2 | 0 | 65.9 | 65.85 | 59.85 | 41.7 | 323.47 | 237.68 | 52.3891 | 35.6201 | 88.0092
14 | 2021-03-06 05:47 | 3 | 2 | 0 | 65.9 | 65.88 | 59.8 | 41.8 | 322.88 | 237.11 | 52.8555 | 35.7214 | 88.577
15 | 2021-03-06 05:48 | 3 | 2 | 0 | 65.9 | 65.89 | 59.85 | 41.9 | 337.93 | 252.87 | 52.1366 | 35.9646 | 88.1012
16 | 2021-03-06 05:49 | 3 | 2 | 0 | 66 | 65.9 | 59.94 | 41.9 | 339.7 | 254.56 | 53.1684 | 35.9392 | 89.1076
17 | 2021-03-06 05:50 | 3 | 2 | 0 | 66 | 65.92 | 59.96 | 41.8 | 337.93 | 255.28 | 52.3004 | 35.757 | 88.0574
18 | 2021-03-06 05:51 | 3 | 2 | 0 | 66 | 65.91 | 60.02 | 41.9 | 342.3 | 258.81 | 51.8901 | 36.1113 | 88.0014
19 | 2021-03-06 05:52 | 3 | 2 | 0 | 66 | 65.91 | 60.07 | 42 | 332.09 | 259.16 | 52.5764 | 35.691 | 88.2674
20 | 2021-03-06 05:53 | 3 | 2 | 0 | 66 | 65.89 | 60.1 | 42 | 331.68 | 258.45 | 52.8581 | 36.0822 | 88.9403
21 | 2021-03-06 05:54 | 3 | 2 | 0 | 66 | 65.9 | 60.1 | 41.9 | 342.77 | 254.92 | 52.6634 | 35.6061 | 88.2695
22 | 2021-03-06 05:55 | 3 | 2 | 0 | 65.9 | 65.88 | 60.12 | 41.8 | 338.7 | 256.45 | 53.136 | 35.321 | 88.4569
23 | 2021-03-06 05:56 | 3 | 2 | 0 | 65.9 | 65.88 | 60.12 | 41.8 | 335.16 | 257.27 | 52.7831 | 35.5062 | 88.2893
24 | 2021-03-06 05:57 | 3 | 2 | 0 | 65.9 | 65.87 | 60.13 | 41.7 | 336.52 | 260.08 | 52.6226 | 35.6659 | 88.2886
25 | 2021-03-06 05:58 | 3 | 2 | 0 | 65.9 | 65.86 | 60.15 | 41.9 | 333.15 | 265.61 | 52.4777 | 35.3192 | 87.7969
26 | 2021-03-06 05:59 | 3 | 2 | 0 | 65.9 | 65.87 | 60.24 | 42.1 | 340.77 | 261.77 | 53.0693 | 36.0499 | 89.1192
27 | 2021-03-06 06:00 | 3 | 2 | 0 | 65.9 | 65.85 | 60.21 | 42.1 | 335.99 | 261.87 | 52.8978 | 35.6596 | 88.5574
28 | 2021-03-06 06:01 | 3 | 2 | 0 | 65.8 | 65.85 | 60.23 | 42.2 | 334.86 | 261.82 | 52.8592 | 35.7625 | 88.6217
29 | 2021-03-06 06:02 | 3 | 2 | 0 | 65.8 | 65.81 | 60.23 | 42.2 | 336.34 | 258.4 | 52.2594 | 35.8578 | 88.1172
30 | 2021-03-06 06:03 | 3 | 2 | 0 | 65.8 | 65.8 | 60.23 | 42.3 | 336.81 | 254.05 | 52.8252 | 36.0757 | 88.9009
31 | 2021-03-06 06:04 | 3 | 2 | 0 | 65.7 | 65.79 | 60.15 | 42.2 | 338.35 | 258.81 | 52.978 | 35.6722 | 88.6501
32 | 2021-03-06 06:05 | 3 | 2 | 0 | 65.6 | 65.77 | 60.16 | 42.2 | 342.72 | 254.82 | 52.5067 | 35.1636 | 87.6703
33 | 2021-03-06 06:06 | 3 | 2 | 0 | 65.6 | 65.76 | 60.12 | 42.3 | 335.75 | 257.53 | 52.9272 | 36.6011 | 89.5283
34 | 2021-03-06 06:07 | 3 | 2 | 0 | 65.7 | 65.74 | 60.13 | 42.3 | 336.81 | 256.2 | 53.4832 | 36.2571 | 89.7403
35 | 2021-03-06 06:08 | 3 | 2 | 0 | 65.6 | 65.76 | 60.11 | 42.2 | 337.64 | 258.81 | 52.3579 | 35.4062 | 87.7641
36 | 2021-03-06 06:09 | 3 | 2 | 0 | 65.6 | 65.75 | 60.09 | 42.2 | 334.04 | 256.86 | 52.4996 | 35.5486 | 88.0482
37 | 2021-03-06 06:10 | 3 | 2 | 0 | 65.6 | 65.77 | 60.09 | 42 | 342.6 | 257.99 | 52.8677 | 36.2601 | 89.1278
38 | 2021-03-06 06:11 | 3 | 2 | 0 | 65.6 | 65.78 | 60.06 | 41.8 | 342.48 | 258.6 | 53.0508 | 36.3131 | 89.3639
39 | 2021-03-06 06:12 | 3 | 2 | 0 | 65.6 | 65.78 | 60.05 | 41.6 | 332.33 | 256.55 | 53.0468 | 36.6493 | 89.6961
40 | 2021-03-06 06:13 | 3 | 2 | 0 | 65.6 | 65.81 | 60.04 | 41.6 | 329.85 | 253.95 | 52.6747 | 35.8766 | 88.5513
41 | 2021-03-06 06:14 | 3 | 2 | 0 | 65.6 | 65.81 | 60.04 | 41.6 | 335.16 | 255.28 | 52.0739 | 35.8153 | 87.8893
42 | 2021-03-06 06:15 | 3 | 2 | 0 | 65.6 | 65.81 | 60.02 | 41.4 | 337.28 | 256.15 | 52.7728 | 36.4763 | 89.2491
43 | 2021-03-06 06:16 | 3 | 2 | 0 | 65.5 | 65.8 | 59.98 | 41.2 | 340.3 | 257.22 | 53.2626 | 36.554 | 89.8166
44 | 2021-03-06 06:17 | 3 | 2 | 0 | 65.5 | 65.81 | 59.92 | 41.2 | 341.89 | 254.41 | 52.9176 | 35.6102 | 88.5278
45 | 2021-03-06 06:18 | 3 | 2 | 0 | 65.5 | 65.81 | 59.92 | 41.3 | 340.35 | 256.5 | 52.5589 | 35.9463 | 88.5052
46 | 2021-03-06 06:19 | 3 | 2 | 0 | 65.2 | 65.79 | 59.88 | 41.2 | 341.71 | 254.56 | 53.5504 | 35.8395 | 89.3899
47 | 2021-03-06 06:20 | 3 | 2 | 0 | 65.4 | 65.81 | 59.86 | 41.2 | 336.16 | 254.15 | 52.6173 | 36.1816 | 88.7989
48 | 2021-03-06 06:21 | 3 | 2 | 0 | 65.4 | 65.8 | 59.87 | 41 | 336.22 | 252.36 | 52.4768 | 36.3215 | 88.7984
49 | 2021-03-06 06:22 | 3 | 2 | 0 | 65.4 | 65.85 | 59.82 | 41.1 | 338.76 | 254.71 | 52.0728 | 36.2325 | 88.3052
50 | 2021-03-06 06:23 | 3 | 2 | 0 | 65.4 | 65.83 | 59.82 | 41.1 | 329.85 | 254.41 | 51.9014 | 35.8359 | 87.7373
51 | 2021-03-06 06:24 | 3 | 2 | 0 | 65.4 | 65.83 | 59.8 | 40.9 | 337.23 | 256.5 | 52.0756 | 35.9778 | 88.0534
52 | 2021-03-06 06:25 | 3 | 2 | 0 | 65.2 | 65.82 | 59.81 | 40.9 | 335.93 | 253.84 | 52.149 | 35.9709 | 88.1199
53 | 2021-03-06 06:26 | 3 | 2 | 0 | 65.2 | 65.85 | 59.82 | 41 | 337.64 | 254.82 | 52.4129 | 35.8736 | 88.2864
54 | 2021-03-06 06:27 | 3 | 2 | 0 | 65.3 | 65.85 | 59.81 | 41 | 331.91 | 259.83 | 52.5796 | 35.864 | 88.4436
55 | 2021-03-06 06:28 | 3 | 2 | 0 | 65.3 | 65.86 | 59.82 | 41 | 335.34 | 255.84 | 52.8915 | 36.1721 | 89.0636
56 | 2021-03-06 06:29 | 3 | 2 | 0 | 65.3 | 65.85 | 59.8 | 41 | 335.16 | 255.07 | 51.9273 | 35.4915 | 87.4188
57 | 2021-03-06 06:30 | 3 | 2 | 0 | 65.3 | 65.85 | 59.8 | 41 | 335.69 | 257.01 | 52.826 | 36.5124 | 89.3384
58 | 2021-03-06 06:31 | 3 | 2 | 0 | 65.3 | 65.85 | 59.79 | 41.1 | 327.49 | 256.81 | 52.567 | 35.9516 | 88.5186
59 | 2021-03-06 06:32 | 3 | 2 | 0 | 65.3 | 65.85 | 59.79 | 41.2 | 333.39 | 256.5 | 52.6377 | 36.0301 | 88.6678
60 | 2021-03-06 06:33 | 3 | 2 | 0 | 65.3 | 65.88 | 59.79 | 41.2 | 336.05 | 256.25 | 52.8818 | 36.1988 | 89.0806
61 | 2021-03-06 06:34 | 3 | 2 | 0 | 65.3 | 65.84 | 59.8 | 41.3 | 336.93 | 255.84 | 52.8413 | 36.5445 | 89.3858
62 | 2021-03-06 06:35 | 3 | 2 | 0 | 65.3 | 65.83 | 59.84 | 41.4 | 335.81 | 258.65 | 53.6963 | 36.6032 | 90.2995
63 | 2021-03-06 06:36 | 3 | 2 | 0 | 65.1 | 65.85 | 59.86 | 41.4 | 333.33 | 255.74 | 52.5008 | 36.1528 | 88.6535
64 | 2021-03-06 06:37 | 3 | 2 | 0 | 65.1 | 65.83 | 59.83 | 41.4 | 335.75 | 261.06 | 52.1317 | 35.3762 | 87.5078
65 | 2021-03-06 06:38 | 3 | 2 | 0 | 65.1 | 65.81 | 59.88 | 41.5 | 338.47 | 258.7 | 53.1157 | 35.9608 | 89.0764
66 | 2021-03-06 06:39 | 3 | 2 | 0 | 65.1 | 65.84 | 59.85 | 41.5 | 343.72 | 256.86 | 52.7346 | 35.8794 | 88.614
67 | 2021-03-06 06:40 | 3 | 2 | 0 | 65.1 | 65.81 | 59.86 | 41.6 | 333.27 | 258.91 | 53.0697 | 35.3867 | 88.4564
68 | 2021-03-06 06:41 | 3 | 2 | 0 | 65.1 | 65.83 | 59.84 | 41.4 | 342.01 | 256.86 | 53.1238 | 36.3776 | 89.5014
69 | 2021-03-06 06:42 | 3 | 2 | 0 | 65 | 65.82 | 59.82 | 41.2 | 337.17 | 259.73 | 52.6503 | 35.9923 | 88.6427
70 | 2021-03-06 06:43 | 3 | 2 | 0 | 65 | 65.79 | 59.81 | 41 | 343.6 | 251.69 | 52.6262 | 35.6204 | 88.2467
71 | 2021-03-06 06:44 | 3 | 2 | 0 | 65.1 | 65.81 | 59.7 | 40.8 | 340.94 | 252.97 | 53.0932 | 36.7178 | 89.811
72 | 2021-03-06 06:45 | 3 | 2 | 0 | 65.1 | 65.82 | 59.7 | 41 | 342.95 | 253.08 | 52.9067 | 35.4609 | 88.3676
73 | 2021-03-06 06:46 | 3 | 2 | 0 | 65 | 65.83 | 59.64 | 41.2 | 332.21 | 251.59 | 52.5751 | 35.7 | 88.2751
74 | 2021-03-06 06:47 | 3 | 2 | 0 | 64.9 | 65.81 | 59.61 | 41.2 | 335.4 | 253.08 | 52.3111 | 35.134 | 87.4452
75 | 2021-03-06 06:48 | 3 | 2 | 0 | 64.9 | 65.8 | 59.62 | 41.3 | 339.65 | 252.41 | 52.3854 | 35.5565 | 87.942
76 | 2021-03-06 06:49 | 3 | 2 | 0 | 64.9 | 65.82 | 59.63 | 41.4 | 339.76 | 251.69 | 53.3259 | 35.7096 | 89.0354
77 | 2021-03-06 06:50 | 3 | 2 | 0 | 64.9 | 65.81 | 59.6 | 41.4 | 338.52 | 255.07 | 52.8861 | 35.5375 | 88.4236
78 | 2021-03-06 06:51 | 3 | 2 | 0 | 64.8 | 65.81 | 59.61 | 41.5 | 338.7 | 250.42 | 51.8317 | 35.3609 | 87.1926
79 | 2021-03-06 06:52 | 3 | 2 | 0 | 64.8 | 65.81 | 59.59 | 41.6 | 336.64 | 252.82 | 52.585 | 35.4188 | 88.0038
80 | 2021-03-06 06:53 | 3 | 2 | 0 | 64.8 | 65.79 | 59.57 | 41.6 | 335.16 | 252.46 | 52.8373 | 35.3304 | 88.1677
81 | 2021-03-06 06:54 | 3 | 2 | 0 | 64.8 | 65.8 | 59.58 | 41.5 | 341.89 | 252.05 | 52.0612 | 35.8385 | 87.8998
82 | 2021-03-06 06:55 | 3 | 2 | 0 | 64.8 | 65.79 | 59.52 | 41.4 | 338.82 | 253.33 | 52.8112 | 35.6856 | 88.4968
83 | 2021-03-06 06:56 | 3 | 2 | 0 | 64.8 | 65.78 | 59.51 | 41.3 | 338.82 | 250.93 | 52.9393 | 35.5162 | 88.4556
84 | 2021-03-06 06:57 | 3 | 2 | 0 | 64.8 | 65.78 | 59.5 | 41.2 | 336.87 | 252.36 | 53.3695 | 35.4066 | 88.7761
85 | 2021-03-06 06:58 | 3 | 2 | 0 | 64.8 | 65.79 | 59.49 | 41.2 | 338.88 | 250.31 | 52.451 | 35.5048 | 87.9557
86 | 2021-03-06 06:59 | 3 | 2 | 0 | 64.8 | 65.78 | 59.49 | 41.3 | 334.27 | 254.97 | 52.6773 | 35.8658 | 88.5431
87 | 2021-03-06 07:00 | 3 | 2 | 0 | 64.8 | 65.8 | 59.46 | 41.3 | 343.9 | 248.83 | 53.3638 | 35.9037 | 89.2676
88 | 2021-03-06 07:01 | 3 | 2 | 0 | 64.8 | 65.8 | 59.44 | 41.3 | 335.4 | 250.88 | 53.2398 | 35.4885 | 88.7283
89 | 2021-03-06 07:02 | 3 | 2 | 0 | 64.8 | 65.8 | 59.42 | 41.3 | 337.76 | 251.64 | 52.5505 | 36.4049 | 88.9554
90 | 2021-03-06 07:03 | 3 | 2 | 0 | 64.8 | 65.83 | 59.42 | 41.2 | 334.45 | 251.75 | 53.2899 | 35.9677 | 89.2576
91 | 2021-03-06 07:04 | 3 | 2 | 0 | 64.8 | 65.84 | 59.44 | 41.3 | 342.6 | 250.67 | 53.0806 | 35.6425 | 88.7231
92 | 2021-03-06 07:05 | 3 | 2 | 0 | 64.8 | 65.84 | 59.41 | 41.4 | 331.74 | 255.68 | 52.8691 | 35.5538 | 88.423
93 | 2021-03-06 07:06 | 3 | 2 | 0 | 64.9 | 65.85 | 59.46 | 41.5 | 336.81 | 250.67 | 52.5495 | 35.1197 | 87.6692
94 | 2021-03-06 07:07 | 3 | 2 | 0 | 64.9 | 65.88 | 59.46 | 41.4 | 336.46 | 248.11 | 52.3407 | 35.557 | 87.8977
95 | 2021-03-06 07:08 | 3 | 2 | 0 | 64.9 | 65.89 | 59.47 | 41.5 | 335.51 | 247.7 | 53.0504 | 36.2246 | 89.275
96 | 2021-03-06 07:09 | 3 | 2 | 0 | 64.9 | 65.88 | 59.48 | 41.6 | 339.11 | 252.51 | 53.182 | 36.5028 | 89.6848
97 | 2021-03-06 07:10 | 3 | 2 | 0 | 64.8 | 65.89 | 59.53 | 41.7 | 332.74 | 251.29 | 52.8843 | 36.1239 | 89.0082
98 | 2021-03-06 07:11 | 3 | 2 | 0 | 64.8 | 65.88 | 59.54 | 41.7 | 342.24 | 248.73 | 53.5269 | 35.4586 | 88.9856
99 | 2021-03-06 07:12 | 3 | 2 | 0 | 64.8 | 65.92 | 59.57 | 41.8 | 342.18 | 251.85 | 52.6902 | 35.7066 | 88.3969
100 | 2021-03-06 07:13 | 3 | 2 | 0 | 64.8 | 65.91 | 59.59 | 41.9 | 330.5 | 253.02 | 52.6419 | 36.5763 | 89.2182
101 | 2021-03-06 07:14 | 3 | 2 | 0 | 64.8 | 65.95 | 59.63 | 42 | 341.95 | 255.33 | 52.7894 | 35.3941 | 88.1834
102 | 2021-03-06 07:15 | 3 | 2 | 0 | 64.8 | 65.94 | 59.64 | 41.9 | 338.47 | 250.72 | 53.3348 | 36.2994 | 89.6342
103 | 2021-03-06 07:16 | 3 | 2 | 0 | 64.8 | 65.92 | 59.62 | 41.8 | 336.93 | 253.13 | 52.8637 | 35.9052 | 88.7689
104 | 2021-03-06 07:17 | 3 | 2 | 0 | 64.8 | 65.92 | 59.66 | 41.8 | 336.4 | 251.08 | 53.0169 | 36.5818 | 89.5987
105 | 2021-03-06 07:18 | 3 | 2 | 0 | 64.8 | 65.94 | 59.64 | 41.8 | 338.47 | 253.02 | 53.2205 | 36.2818 | 89.5022
106 | 2021-03-06 07:19 | 3 | 2 | 0 | 64.8 | 65.95 | 59.66 | 41.8 | 339 | 250.57 | 53.6329 | 36.0817 | 89.7146
107 | 2021-03-06 07:20 | 3 | 2 | 0 | 64.8 | 65.95 | 59.64 | 41.8 | 337.46 | 250.88 | 52.369 | 36.7016 | 89.0706
108 | 2021-03-06 07:21 | 3 | 2 | 0 | 64.8 | 65.96 | 59.63 | 41.9 | 335.99 | 250.93 | 53.0224 | 36.5486 | 89.571
109 | 2021-03-06 07:22 | 3 | 2 | 0 | 64.9 | 65.95 | 59.65 | 42 | 334.22 | 251.08 | 53.2824 | 36.2698 | 89.5522
110 | 2021-03-06 07:23 | 3 | 2 | 0 | 64.9 | 65.96 | 59.66 | 42 | 346.32 | 249.9 | 53.4735 | 35.9229 | 89.3964
111 | 2021-03-06 07:24 | 3 | 2 | 0 | 64.9 | 65.97 | 59.67 | 42 | 337.88 | 253.69 | 53.3936 | 36.4004 | 89.7941
112 | 2021-03-06 07:25 | 3 | 2 | 0 | 64.9 | 65.97 | 59.7 | 42 | 338.58 | 252.26 | 53.1348 | 35.8207 | 88.9555
113 | 2021-03-06 07:26 | 3 | 2 | 0 | 64.9 | 66 | 59.72 | 42 | 336.05 | 250.72 | 52.904 | 36.2106 | 89.1145
114 | 2021-03-06 07:27 | 3 | 2 | 0 | 64.9 | 66.03 | 59.78 | 42.2 | 332.98 | 251.54 | 53.1924 | 36.4362 | 89.6286
115 | 2021-03-06 07:28 | 3 | 2 | 0 | 64.9 | 66.02 | 59.88 | 42.7 | 340.06 | 252.46 | 52.9091 | 36.3617 | 89.2708
116 | 2021-03-06 07:29 | 3 | 2 | 0 | 64.9 | 66.07 | 59.95 | 43.4 | 333.57 | 251.69 | 53.9034 | 36.1148 | 90.0182
117 | 2021-03-06 07:30 | 3 | 2 | 0 | 64.9 | 66.08 | 60.08 | 44 | 333.15 | 252.97 | 53.2856 | 35.8643 | 89.1499
118 | 2021-03-06 07:31 | 3 | 2 | 0 | 64.9 | 66.14 | 60.18 | 44.5 | 331.8 | 250.26 | 53.447 | 36.3204 | 89.7674
119 | 2021-03-06 07:32 | 3 | 2 | 0 | 64.9 | 66.17 | 60.25 | 44.7 | 339.17 | 251.44 | 52.9181 | 36.1668 | 89.0849
120 | 2021-03-06 07:33 | 3 | 2 | 0 | 65.2 | 66.2 | 60.33 | 44.9 | 335.28 | 254.2 | 53.2296 | 35.7816 | 89.0113
121 | 2021-03-06 07:34 | 3 | 2 | 0 | 65.1 | 66.23 | 60.44 | 45.1 | 341.42 | 248.83 | 52.4996 | 35.5596 | 88.0592
122 | 2021-03-06 07:35 | 3 | 2 | 0 | 65.1 | 66.27 | 60.52 | 45 | 335.4 | 251.13 | 52.9596 | 36.6985 | 89.6581
123 | 2021-03-06 07:36 | 3 | 2 | 0 | 65.2 | 66.33 | 60.63 | 45.3 | 336.22 | 252.15 | 52.9455 | 35.7999 | 88.7455
124 | 2021-03-06 07:37 | 3 | 2 | 0 | 65.2 | 66.38 | 60.72 | 45.7 | 336.75 | 251.39 | 480.7734 | 381.4463 | 862.2198
125 | 2021-03-06 07:38 | 3 | 2 | 0 | 65.1 | 66.43 | 60.82 | 45.7 | 340.94 | 252.87 | 985.7332 | 914.5258 | 1900.259
126 | 2021-03-06 07:39 | 3 | 2 | 0 | 65.2 | 66.47 | 66.8 | 45.6 | 299.39 | 243.92 | 1140.8988 | 1033.0799 | 2173.9787
127 | 2021-03-06 07:40 | 3 | 2 | 0 | 65.2 | 66.52 | 75.45 | 45.6 | 267.75 | 238.04 | 1237.022 | 1103.382 | 2340.404
128 | 2021-03-06 07:41 | 3 | 2 | 0 | 65.2 | 66.57 | 81.04 | 45.8 | 256.3 | 231.85 | 955.4961 | 844.6004 | 1800.0965
129 | 2021-03-06 07:42 | 3 | 2 | 0 | 65.2 | 66.71 | 86.16 | 45.8 | 257.24 | 227.34 | 51.9189 | 36.0318 | 87.9507