## Sheet1
Columns | Descriptions | Unit
timestamp | datetime with timezone | datetime
day | date | date
time | time | time
1A-CHWRTS-2 | chilled water return temperature | Celsius
1A-CHWSTS-2 | chilled water supply temperature | Celsius
1A-RAT-1 | AHU return air temperature | Celsius
1A-SAT-1 | AHU supply air temperature | Celsius
1A-NorthZone-DischargeAirTemp | VAV box discharge air temperature | Fahrenheit
1A-NorthZone-DischargeAirflow | VAV box discharge airflow rate | cfm
1A-NorthZone-OccupiedCoolingSetpt | Occupied cooling setpoint | Fahrenheit
1A-NorthZone-OccupiedHeatingSetpt | Occupied heating setpoint | Fahrenheit
1A-NorthZone-UnoccupiedCoolingSetpt | Unoccupied cooling setpoint | Fahrenheit
1A-NorthZone-UnoccupiedHeatingSetpt | Unccupied heating setpoint | Fahrenheit
1A-NorthZone-Zn_Temp | thermostat zone temperature | Fahrenheit
1A-MidZone-DischargeAirTemp | VAV box discharge air temperature | Fahrenheit
1A-MidZone-DischargeAirflow | VAV box discharge airflow rate | cfm
1A-MidZone-OccupiedCoolingSetpt | Occupied cooling setpoint | Fahrenheit
1A-MidZone-OccupiedHeatingSetpt | Occupied heating setpoint | Fahrenheit
1A-MidZone-UnoccupiedCoolingSetpt | Unoccupied cooling setpoint | Fahrenheit
1A-MidZone-UnoccupiedHeatingSetpt | Unccupied heating setpoint | Fahrenheit
1A-MidZone-Zn_Temp | thermostat zone temperature | Fahrenheit
1A-SouthZone-DischargeAirTemp | VAV box discharge air temperature | Fahrenheit
1A-SouthZone-DischargeAirflow | VAV box discharge airflow rate | cfm
1A-SouthZone-OccupiedCoolingSetpt | Occupied cooling setpoint | Fahrenheit
1A-SouthZone-OccupiedHeatingSetpt | Occupied heating setpoint | Fahrenheit
1A-SouthZone-UnoccupiedCoolingSetpt | Unoccupied cooling setpoint | Fahrenheit
1A-SouthZone-UnoccupiedHeatingSetpt | Unccupied heating setpoint | Fahrenheit
1A-SouthZone-Zn_Temp | thermostat zone temperature | Fahrenheit
1A-Th-Chilled Water | chilled water cooling load | W
1A-Th-Airflow | 1A-AHU supply fan airflow rate | cfm
1A-MidZone-TCS4-DBT | thermal station dry bulb temperature | Celsius
1A-NorthZone-DBT | thermal station dry bulb temperature | Celsius
1A-WindowZone-TCS1-DBT | thermal station dry bulb temperature | Celsius
1B-OAT-1 | outside air temperature | Celsius
DHI | Diffuse Horizontal Irradiance | W/m2
DNI | Direct Normal Irradiance | W/m2
GHI | Global Horizontal Irradiance | W/m2
RH | Relative humidity | %
WindDir | Wind direction | degree
WindSpd | Wind speed | m/s
1A-NorthZone-Plug-Occupant | Plug and occupant | W
1A-MidZone-Plug-Occupant | Plug and occupant | W
1A-SouthZone-Plug-Occupant | Plug and occupant | W
1A-NorthZone-Light | Lighting | W
1A-MidZone-Light | Lighting | W
1A-SouthZone-Light | Lighting | W