## Sheet1
Minutes | datetime | Control_Status 1 - off 2 - cool 3 - heat | System_Mode 1 - off 2 - auto 3 - cool 4 - heat | Reversing_Valve_Status 0 - heating 1 - cooling | Room_Temperature [F] | Ebtron_Return_Air_Temp [F] | Ebtron_Supply_Air_Temp [F] | Outside_Air_Temp [F] | Ebtron_Supply_Airflow [CFM] | Ebtron_Return_Airflow [CFM] | PRB-ActivePower28 [W] | PRB-ActivePower42 [W] | Total Power [W]
0 | 2021-03-07 05:34 | 3 | 2 | 0 | 66.2 | 65.04 | 61.27 | 45.1 | 138.24 | 109.12 | 47.5272 | 29.5788 | 77.106
1 | 2021-03-07 05:35 | 3 | 2 | 0 | 66.1 | 65.05 | 61.04 | 44.5 | 136.77 | 114.29 | 47.1484 | 29.9695 | 77.1179
2 | 2021-03-07 05:36 | 3 | 2 | 0 | 65.9 | 65.03 | 60.88 | 44.1 | 134.52 | 113.16 | 47.5367 | 30.1776 | 77.7143
3 | 2021-03-07 05:37 | 3 | 2 | 0 | 66 | 65 | 60.74 | 43.6 | 158.25 | 122.57 | 47.4094 | 30.0917 | 77.5011
4 | 2021-03-07 05:38 | 3 | 2 | 0 | 66 | 65.04 | 60.57 | 43.2 | 160.56 | 131.17 | 47.9025 | 30.8805 | 78.783
5 | 2021-03-07 05:39 | 3 | 2 | 0 | 65.9 | 65.01 | 60.38 | 42.9 | 158.9 | 128 | 47.5379 | 30.1963 | 77.7342
6 | 2021-03-07 05:40 | 3 | 2 | 0 | 66 | 65.08 | 60.16 | 42.5 | 192.9 | 149.74 | 48.3646 | 31.1114 | 79.4759
7 | 2021-03-07 05:41 | 3 | 2 | 0 | 66 | 65.08 | 59.96 | 42.2 | 194.97 | 151.58 | 48.9212 | 32.0326 | 80.9538
8 | 2021-03-07 05:42 | 3 | 2 | 0 | 65.9 | 65.16 | 59.79 | 42.1 | 223.48 | 167.75 | 48.5795 | 31.2399 | 79.8194
9 | 2021-03-07 05:43 | 3 | 2 | 0 | 65.9 | 65.22 | 59.73 | 42 | 225.72 | 171.02 | 49.47 | 32.6973 | 82.1673
10 | 2021-03-07 05:44 | 3 | 2 | 0 | 65.9 | 65.23 | 59.63 | 41.9 | 257.72 | 183.3 | 48.9824 | 32.7737 | 81.756
11 | 2021-03-07 05:45 | 3 | 2 | 0 | 65.9 | 65.29 | 59.53 | 41.8 | 252.17 | 188.26 | 50.9346 | 34.6268 | 85.5614
12 | 2021-03-07 05:46 | 3 | 2 | 0 | 65.9 | 65.35 | 59.52 | 41.8 | 292.31 | 208.62 | 50.9302 | 33.505 | 84.4351
13 | 2021-03-07 05:47 | 3 | 2 | 0 | 65.9 | 65.41 | 59.49 | 41.8 | 295.43 | 213.94 | 51.5453 | 34.4321 | 85.9774
14 | 2021-03-07 05:48 | 3 | 2 | 0 | 65.6 | 65.46 | 59.47 | 41.9 | 319.52 | 221.51 | 52.1415 | 35.4874 | 87.6289
15 | 2021-03-07 05:49 | 3 | 2 | 0 | 65.6 | 65.49 | 59.45 | 41.9 | 324.89 | 237.68 | 52.3401 | 35.6691 | 88.0092
16 | 2021-03-07 05:50 | 3 | 2 | 0 | 65.6 | 65.52 | 59.46 | 42 | 329.49 | 236.6 | 53.139 | 36.0424 | 89.1814
17 | 2021-03-07 05:51 | 3 | 2 | 0 | 65.6 | 65.54 | 59.48 | 42 | 326.95 | 255.68 | 52.8115 | 36.1932 | 89.0047
18 | 2021-03-07 05:52 | 3 | 2 | 0 | 65.6 | 65.55 | 59.63 | 42 | 337.93 | 254.61 | 52.8753 | 36.6074 | 89.4826
19 | 2021-03-07 05:53 | 3 | 2 | 0 | 65.6 | 65.56 | 59.7 | 41.9 | 333.51 | 256.81 | 52.4733 | 35.8149 | 88.2882
20 | 2021-03-07 05:54 | 3 | 2 | 0 | 65.6 | 65.54 | 59.72 | 41.8 | 336.4 | 259.47 | 52.4298 | 35.5084 | 87.9382
21 | 2021-03-07 05:55 | 3 | 2 | 0 | 65.5 | 65.55 | 59.78 | 41.8 | 340.41 | 260.9 | 52.6457 | 35.3227 | 87.9684
22 | 2021-03-07 05:56 | 3 | 2 | 0 | 65.5 | 65.53 | 59.82 | 41.8 | 334.98 | 261.98 | 53.1349 | 36.4168 | 89.5517
23 | 2021-03-07 05:57 | 3 | 2 | 0 | 65.5 | 65.55 | 59.91 | 42 | 334.51 | 261.06 | 52.1993 | 35.9982 | 88.1976
24 | 2021-03-07 05:58 | 3 | 2 | 0 | 65.5 | 65.52 | 59.91 | 42 | 342.77 | 261.26 | 52.1603 | 36.1689 | 88.3292
25 | 2021-03-07 05:59 | 3 | 2 | 0 | 65.5 | 65.52 | 59.93 | 42 | 333.15 | 259.73 | 52.6947 | 35.6425 | 88.3372
26 | 2021-03-07 06:00 | 3 | 2 | 0 | 65.5 | 65.48 | 59.91 | 41.9 | 332.5 | 258.96 | 52.5953 | 35.7067 | 88.302
27 | 2021-03-07 06:01 | 3 | 2 | 0 | 65.4 | 65.47 | 59.91 | 41.7 | 335.45 | 258.96 | 52.7102 | 36.0203 | 88.7304
28 | 2021-03-07 06:02 | 3 | 2 | 0 | 65.4 | 65.48 | 59.91 | 41.7 | 333.09 | 252.05 | 52.7345 | 36.1948 | 88.9293
29 | 2021-03-07 06:03 | 3 | 2 | 0 | 65.4 | 65.46 | 59.84 | 41.7 | 337.46 | 259.06 | 52.0834 | 36.046 | 88.1293
30 | 2021-03-07 06:04 | 3 | 2 | 0 | 65.4 | 65.45 | 59.83 | 41.7 | 340.65 | 255.89 | 52.7715 | 36.0458 | 88.8174
31 | 2021-03-07 06:05 | 3 | 2 | 0 | 65.4 | 65.46 | 59.84 | 41.7 | 334.81 | 257.73 | 52.5422 | 36.5712 | 89.1135
32 | 2021-03-07 06:06 | 3 | 2 | 0 | 65.4 | 65.42 | 59.79 | 41.5 | 335.75 | 255.58 | 52.6736 | 35.7471 | 88.4207
33 | 2021-03-07 06:07 | 3 | 2 | 0 | 65.4 | 65.42 | 59.75 | 41.4 | 337.46 | 253.28 | 52.3419 | 35.632 | 87.9739
34 | 2021-03-07 06:08 | 3 | 2 | 0 | 65.4 | 65.42 | 59.75 | 41.3 | 336.58 | 256.96 | 52.4465 | 35.4165 | 87.863
35 | 2021-03-07 06:09 | 3 | 2 | 0 | 65.4 | 65.45 | 59.72 | 41.2 | 335.69 | 254.61 | 52.8041 | 36.3528 | 89.1569
36 | 2021-03-07 06:10 | 3 | 2 | 0 | 65.3 | 65.42 | 59.68 | 41.1 | 332.03 | 253.69 | 52.7741 | 36.2481 | 89.0222
37 | 2021-03-07 06:11 | 3 | 2 | 0 | 65.3 | 65.44 | 59.68 | 41.3 | 336.81 | 258.91 | 52.7293 | 36.3219 | 89.0511
38 | 2021-03-07 06:12 | 3 | 2 | 0 | 65.1 | 65.43 | 59.69 | 41.2 | 334.63 | 252.67 | 52.8625 | 36.547 | 89.4094
39 | 2021-03-07 06:13 | 3 | 2 | 0 | 65.3 | 65.43 | 59.65 | 41 | 340.53 | 252.82 | 52.1084 | 36.6964 | 88.8048
40 | 2021-03-07 06:14 | 3 | 2 | 0 | 65.3 | 65.44 | 59.67 | 41.2 | 343.78 | 253.74 | 52.6783 | 36.4803 | 89.1586
41 | 2021-03-07 06:15 | 3 | 2 | 0 | 65.2 | 65.45 | 59.67 | 41.3 | 339.23 | 254.97 | 52.8172 | 36.3366 | 89.1538
42 | 2021-03-07 06:16 | 3 | 2 | 0 | 65.2 | 65.47 | 59.67 | 41.3 | 328.73 | 258.75 | 52.5878 | 36.4799 | 89.0677
43 | 2021-03-07 06:17 | 3 | 2 | 0 | 65.1 | 65.49 | 59.68 | 41.2 | 334.98 | 253.18 | 52.5369 | 36.3903 | 88.9272
44 | 2021-03-07 06:18 | 3 | 2 | 0 | 65.1 | 65.49 | 59.66 | 41.3 | 334.45 | 253.33 | 52.5489 | 36.4003 | 88.9492
45 | 2021-03-07 06:19 | 3 | 2 | 0 | 65.1 | 65.48 | 59.66 | 41.3 | 337.58 | 253.89 | 52.7883 | 36.4845 | 89.2727
46 | 2021-03-07 06:20 | 3 | 2 | 0 | 65.1 | 65.5 | 59.66 | 41.4 | 337.93 | 251.54 | 52.4089 | 36.0949 | 88.5038
47 | 2021-03-07 06:21 | 3 | 2 | 0 | 65.1 | 65.49 | 59.67 | 41.4 | 339.65 | 254.82 | 52.9513 | 36.3649 | 89.3162
48 | 2021-03-07 06:22 | 3 | 2 | 0 | 65.1 | 65.51 | 59.67 | 41.4 | 337.05 | 255.38 | 52.443 | 35.7322 | 88.1752
49 | 2021-03-07 06:23 | 3 | 2 | 0 | 65.1 | 65.53 | 59.65 | 41.5 | 336.58 | 255.68 | 52.992 | 36.7402 | 89.7322
50 | 2021-03-07 06:24 | 3 | 2 | 0 | 65.3 | 65.51 | 59.67 | 41.5 | 336.22 | 253.69 | 52.573 | 35.799 | 88.3721
51 | 2021-03-07 06:25 | 3 | 2 | 0 | 65.3 | 65.52 | 59.66 | 41.4 | 329.2 | 257.32 | 53.2958 | 36.3843 | 89.68
52 | 2021-03-07 06:26 | 3 | 2 | 0 | 65.1 | 65.52 | 59.65 | 41.4 | 338.41 | 257.12 | 52.6774 | 36.2564 | 88.9338
53 | 2021-03-07 06:27 | 3 | 2 | 0 | 65.1 | 65.54 | 59.67 | 41.3 | 333.63 | 253.89 | 52.9144 | 36.3385 | 89.2528
54 | 2021-03-07 06:28 | 3 | 2 | 0 | 65 | 65.53 | 59.68 | 41.4 | 335.99 | 254.92 | 52.5615 | 36.2212 | 88.7827
55 | 2021-03-07 06:29 | 3 | 2 | 0 | 65 | 65.52 | 59.72 | 41.4 | 334.63 | 256.61 | 52.7751 | 35.8781 | 88.6533
56 | 2021-03-07 06:30 | 3 | 2 | 0 | 65 | 65.54 | 59.73 | 41.8 | 334.98 | 257.73 | 52.4069 | 36.1857 | 88.5927
57 | 2021-03-07 06:31 | 3 | 2 | 0 | 65 | 65.52 | 59.71 | 41.8 | 341.59 | 250.62 | 52.3361 | 36.1708 | 88.507
58 | 2021-03-07 06:32 | 3 | 2 | 0 | 65 | 65.55 | 59.75 | 42.1 | 331.56 | 256.4 | 53.2125 | 36.0675 | 89.28
59 | 2021-03-07 06:33 | 3 | 2 | 0 | 64.9 | 65.54 | 59.73 | 41.9 | 338.17 | 258.5 | 52.8703 | 36.2134 | 89.0837
60 | 2021-03-07 06:34 | 3 | 2 | 0 | 64.9 | 65.53 | 59.75 | 41.9 | 341.3 | 255.94 | 52.825 | 36.209 | 89.034
61 | 2021-03-07 06:35 | 3 | 2 | 0 | 64.9 | 65.53 | 59.75 | 41.8 | 340.65 | 256.5 | 52.3522 | 35.9914 | 88.3436
62 | 2021-03-07 06:36 | 3 | 2 | 0 | 64.9 | 65.56 | 59.74 | 41.8 | 339.06 | 255.84 | 52.2804 | 35.8637 | 88.1441
63 | 2021-03-07 06:37 | 3 | 2 | 0 | 64.9 | 65.55 | 59.73 | 41.7 | 335.22 | 263 | 52.9338 | 36.4459 | 89.3797
64 | 2021-03-07 06:38 | 3 | 2 | 0 | 64.9 | 65.53 | 59.76 | 42.1 | 336.4 | 250.77 | 52.5169 | 35.979 | 88.4959
65 | 2021-03-07 06:39 | 3 | 2 | 0 | 64.9 | 65.53 | 59.77 | 42.1 | 337.34 | 254.3 | 52.4517 | 36.5997 | 89.0514
66 | 2021-03-07 06:40 | 3 | 2 | 0 | 64.9 | 65.54 | 59.73 | 42.2 | 337.46 | 254.15 | 52.9369 | 36.5926 | 89.5295
67 | 2021-03-07 06:41 | 3 | 2 | 0 | 64.9 | 65.52 | 59.74 | 42.2 | 334.86 | 256.3 | 52.2453 | 36.0547 | 88.3
68 | 2021-03-07 06:42 | 3 | 2 | 0 | 64.9 | 65.52 | 59.75 | 42.1 | 331.62 | 256.3 | 52.5284 | 36.0686 | 88.597
69 | 2021-03-07 06:43 | 3 | 2 | 0 | 64.9 | 65.54 | 59.74 | 42.1 | 338.82 | 250.93 | 52.1801 | 36.3716 | 88.5516
70 | 2021-03-07 06:44 | 3 | 2 | 0 | 64.7 | 65.53 | 59.7 | 42 | 335.4 | 248.52 | 52.6622 | 35.9566 | 88.6188
71 | 2021-03-07 06:45 | 3 | 2 | 0 | 64.7 | 65.52 | 59.66 | 42.2 | 338.94 | 248.01 | 52.0153 | 35.7201 | 87.7353
72 | 2021-03-07 06:46 | 3 | 2 | 0 | 64.8 | 65.53 | 59.63 | 42 | 344.01 | 247.55 | 52.4189 | 36.3199 | 88.7388
73 | 2021-03-07 06:47 | 3 | 2 | 0 | 64.8 | 65.53 | 59.58 | 42.1 | 339.59 | 249.39 | 52.8687 | 36.7902 | 89.659
74 | 2021-03-07 06:48 | 3 | 2 | 0 | 64.7 | 65.53 | 59.61 | 42.2 | 336.81 | 254 | 53.307 | 36.3279 | 89.635
75 | 2021-03-07 06:49 | 3 | 2 | 0 | 64.8 | 65.54 | 59.63 | 42.4 | 338.35 | 250.36 | 53.1105 | 36.0739 | 89.1843
76 | 2021-03-07 06:50 | 3 | 2 | 0 | 64.8 | 65.51 | 59.6 | 42.4 | 340.89 | 250.47 | 52.6934 | 35.956 | 88.6494
77 | 2021-03-07 06:51 | 3 | 2 | 0 | 64.8 | 65.54 | 59.59 | 42.3 | 337.4 | 252.97 | 52.6162 | 36.3508 | 88.9669
78 | 2021-03-07 06:52 | 3 | 2 | 0 | 64.8 | 65.51 | 59.57 | 42.5 | 340.71 | 247.35 | 52.6586 | 36.4352 | 89.0938
79 | 2021-03-07 06:53 | 3 | 2 | 0 | 64.8 | 65.51 | 59.56 | 42.6 | 339.11 | 249.49 | 52.145 | 36.1887 | 88.3338
80 | 2021-03-07 06:54 | 3 | 2 | 0 | 64.8 | 65.53 | 59.57 | 42.6 | 337.11 | 251.23 | 52.6574 | 36.3375 | 88.9948
81 | 2021-03-07 06:55 | 3 | 2 | 0 | 64.8 | 65.53 | 59.55 | 42.5 | 344.31 | 248.16 | 53.1191 | 36.5934 | 89.7125
82 | 2021-03-07 06:56 | 3 | 2 | 0 | 64.8 | 65.55 | 59.56 | 42.9 | 333.39 | 251.13 | 52.4528 | 35.7362 | 88.189
83 | 2021-03-07 06:57 | 3 | 2 | 0 | 64.8 | 65.53 | 59.57 | 42.6 | 339.94 | 248.27 | 52.1031 | 36.425 | 88.5281
84 | 2021-03-07 06:58 | 3 | 2 | 0 | 64.8 | 65.55 | 59.56 | 42.8 | 334.33 | 249.14 | 52.5868 | 36.2028 | 88.7896
85 | 2021-03-07 06:59 | 3 | 2 | 0 | 64.8 | 65.52 | 59.56 | 42.8 | 339.59 | 249.6 | 52.7431 | 36.4845 | 89.2276
86 | 2021-03-07 07:00 | 3 | 2 | 0 | 64.8 | 65.54 | 59.58 | 42.8 | 335.51 | 248.01 | 52.7663 | 35.9461 | 88.7124
87 | 2021-03-07 07:01 | 3 | 2 | 0 | 64.8 | 65.54 | 59.57 | 43 | 331.5 | 248.73 | 52.9168 | 36.3371 | 89.2539
88 | 2021-03-07 07:02 | 3 | 2 | 0 | 64.8 | 65.55 | 59.58 | 42.9 | 341.24 | 245.71 | 52.464 | 36.3281 | 88.7921
89 | 2021-03-07 07:03 | 3 | 2 | 0 | 64.8 | 65.57 | 59.58 | 42.9 | 337.28 | 251.13 | 52.997 | 36.6685 | 89.6655
90 | 2021-03-07 07:04 | 3 | 2 | 0 | 64.8 | 65.56 | 59.58 | 42.7 | 333.68 | 250.31 | 52.2724 | 36.6875 | 88.9599
91 | 2021-03-07 07:05 | 3 | 2 | 0 | 64.8 | 65.56 | 59.57 | 42.7 | 335.4 | 249.55 | 52.4212 | 35.8115 | 88.2327
92 | 2021-03-07 07:06 | 3 | 2 | 0 | 64.8 | 65.57 | 59.61 | 42.5 | 342.89 | 249.09 | 52.5776 | 36.0708 | 88.6484
93 | 2021-03-07 07:07 | 3 | 2 | 0 | 64.8 | 65.59 | 59.61 | 42.6 | 340.41 | 244.79 | 52.6043 | 35.9808 | 88.5851
94 | 2021-03-07 07:08 | 3 | 2 | 0 | 64.8 | 65.6 | 59.61 | 42.7 | 334.98 | 249.75 | 52.5002 | 36.2836 | 88.7837
95 | 2021-03-07 07:09 | 3 | 2 | 0 | 64.8 | 65.59 | 59.64 | 42.9 | 339.94 | 248.98 | 53.2836 | 36.5603 | 89.8439
96 | 2021-03-07 07:10 | 3 | 2 | 0 | 64.7 | 65.58 | 59.62 | 42.7 | 337.52 | 248.93 | 53.2052 | 36.4472 | 89.6524
97 | 2021-03-07 07:11 | 3 | 2 | 0 | 64.7 | 65.57 | 59.61 | 42.7 | 341.77 | 247.14 | 52.6919 | 36.551 | 89.2429
98 | 2021-03-07 07:12 | 3 | 2 | 0 | 64.7 | 65.6 | 59.63 | 42.8 | 336.93 | 251.9 | 52.5455 | 35.6293 | 88.1748
99 | 2021-03-07 07:13 | 3 | 2 | 0 | 64.7 | 65.57 | 59.62 | 42.7 | 337.05 | 249.9 | 52.5955 | 36.5778 | 89.1733
100 | 2021-03-07 07:14 | 3 | 2 | 0 | 64.7 | 65.59 | 59.63 | 42.9 | 337.93 | 251.95 | 53.1865 | 36.7269 | 89.9134
101 | 2021-03-07 07:15 | 3 | 2 | 0 | 64.7 | 65.6 | 59.67 | 43.2 | 342.83 | 248.22 | 52.7793 | 35.9658 | 88.7451
102 | 2021-03-07 07:16 | 3 | 2 | 0 | 64.7 | 65.61 | 59.68 | 43.2 | 340.18 | 248.22 | 53.225 | 36.1887 | 89.4137
103 | 2021-03-07 07:17 | 3 | 2 | 0 | 64.7 | 65.6 | 59.69 | 43.1 | 329.91 | 247.4 | 52.6593 | 35.8667 | 88.526
104 | 2021-03-07 07:18 | 3 | 2 | 0 | 64.7 | 65.62 | 59.69 | 43.1 | 335.99 | 247.81 | 52.8461 | 36.3554 | 89.2015
105 | 2021-03-07 07:19 | 3 | 2 | 0 | 64.7 | 65.63 | 59.71 | 42.9 | 343.01 | 248.52 | 53.0183 | 36.7042 | 89.7225
106 | 2021-03-07 07:20 | 3 | 2 | 0 | 64.7 | 65.63 | 59.71 | 42.8 | 339.59 | 249.6 | 52.2993 | 36.4758 | 88.7751
107 | 2021-03-07 07:21 | 3 | 2 | 0 | 64.7 | 65.63 | 59.72 | 42.8 | 338.52 | 250.42 | 52.5993 | 36.4813 | 89.0807
108 | 2021-03-07 07:22 | 3 | 2 | 0 | 64.7 | 65.62 | 59.71 | 42.8 | 341.65 | 249.34 | 52.4577 | 36.7779 | 89.2356
109 | 2021-03-07 07:23 | 3 | 2 | 0 | 64.7 | 65.66 | 59.73 | 42.8 | 338.58 | 252.05 | 53.1 | 36.2935 | 89.3935
110 | 2021-03-07 07:24 | 3 | 2 | 0 | 64.7 | 65.65 | 59.74 | 43 | 333.27 | 246.32 | 52.6792 | 36.3994 | 89.0786
111 | 2021-03-07 07:25 | 3 | 2 | 0 | 64.7 | 65.65 | 59.79 | 43.2 | 336.4 | 245.91 | 52.9494 | 36.688 | 89.6375
112 | 2021-03-07 07:26 | 3 | 2 | 0 | 64.7 | 65.67 | 59.82 | 43.1 | 340.59 | 251.03 | 52.9707 | 36.6246 | 89.5952
113 | 2021-03-07 07:27 | 3 | 2 | 0 | 64.7 | 65.71 | 59.88 | 43.3 | 342.48 | 249.75 | 53.284 | 36.6409 | 89.9249
114 | 2021-03-07 07:28 | 3 | 2 | 0 | 64.7 | 65.73 | 59.94 | 43.6 | 344.66 | 248.98 | 52.9337 | 36.4884 | 89.4221
115 | 2021-03-07 07:29 | 3 | 2 | 0 | 64.7 | 65.74 | 60.04 | 44.1 | 336.4 | 251.44 | 53.434 | 36.9994 | 90.4333
116 | 2021-03-07 07:30 | 3 | 2 | 0 | 64.7 | 65.77 | 60.11 | 44.6 | 338.58 | 249.7 | 52.9799 | 36.5808 | 89.5607
117 | 2021-03-07 07:31 | 3 | 2 | 0 | 64.7 | 65.82 | 60.21 | 45 | 331.2 | 247.86 | 52.2052 | 36.2529 | 88.458
118 | 2021-03-07 07:32 | 3 | 2 | 0 | 64.7 | 65.83 | 60.29 | 45.3 | 331.32 | 247.81 | 52.667 | 36.1968 | 88.8637
119 | 2021-03-07 07:33 | 3 | 2 | 0 | 64.7 | 65.87 | 60.36 | 45.2 | 339.35 | 246.99 | 52.6553 | 36.0901 | 88.7454
120 | 2021-03-07 07:34 | 3 | 2 | 0 | 64.7 | 65.88 | 60.48 | 45.4 | 337.99 | 253.74 | 52.0839 | 35.803 | 87.887
121 | 2021-03-07 07:35 | 3 | 2 | 0 | 64.7 | 65.95 | 60.6 | 45.9 | 339.35 | 249.96 | 52.7508 | 36.5049 | 89.2556
122 | 2021-03-07 07:36 | 3 | 2 | 0 | 64.8 | 65.99 | 60.68 | 45.9 | 339 | 248.83 | 52.8428 | 36.8183 | 89.6611
123 | 2021-03-07 07:37 | 3 | 2 | 0 | 64.8 | 66.02 | 60.76 | 46 | 335.69 | 249.65 | 52.7095 | 35.5571 | 88.2666
124 | 2021-03-07 07:38 | 3 | 2 | 0 | 64.8 | 66.08 | 60.84 | 45.8 | 335.99 | 248.01 | 53.0515 | 36.3804 | 89.432
125 | 2021-03-07 07:39 | 3 | 2 | 0 | 64.8 | 66.1 | 60.99 | 45.9 | 346.32 | 247.6 | 52.6039 | 36.294 | 88.898
126 | 2021-03-07 07:40 | 3 | 2 | 0 | 64.8 | 66.16 | 61.13 | 46.2 | 335.16 | 249.96 | 458.0905 | 426.0855 | 884.176
127 | 2021-03-07 07:41 | 3 | 2 | 0 | 64.8 | 66.21 | 61.23 | 46.4 | 334.63 | 248.01 | 1016.783 | 937.4843 | 1954.2673
128 | 2021-03-07 07:42 | 3 | 2 | 0 | 64.9 | 66.26 | 67.91 | 47.1 | 291.13 | 240.18 | 1160.3 | 1045.522 | 2205.822
129 | 2021-03-07 07:43 | 3 | 2 | 0 | 64.9 | 66.29 | 76.42 | 46.8 | 261.49 | 231.59 | 1258.6982 | 1117.7573 | 2376.4555
130 | 2021-03-07 07:44 | 3 | 2 | 0 | 64.9 | 66.37 | 83.28 | 46.6 | 259.19 | 227.19 | 633.8151 | 553.988 | 1187.8031
131 | 2021-03-07 07:45 | 3 | 2 | 0 | 64.9 | 66.57 | 87.8 | 46.7 | 251.4 | 227.7 | 52.4272 | 35.766 | 88.1932