## Sheet1
Minutes | datetime | Control_Status 1 - off 2 - cool 3 - heat | System_Mode 1 - off 2 - auto 3 - cool 4 - heat | Reversing_Valve_Status 0 - heating 1 - cooling | Room_Temperature [F] | Ebtron_Return_Air_Temp [F] | Ebtron_Supply_Air_Temp [F] | Outside_Air_Temp [F] | Ebtron_Supply_Airflow [CFM] | Ebtron_Return_Airflow [CFM] | PRB-ActivePower28 [W] | PRB-ActivePower42 [W] | Total Power [W]
0 | 2021-03-09 05:45 | 3 | 2 | 0 | 63.7 | 64.03 | 60.27 | 47.4 | 250.57 | 212.61 | 50.3964 | 33.7902 | 84.1866
1 | 2021-03-09 05:46 | 3 | 2 | 0 | 63.7 | 64.04 | 60.34 | 47.1 | 286.05 | 223.86 | 50.2511 | 34.4143 | 84.6654
2 | 2021-03-09 05:47 | 3 | 2 | 0 | 63.7 | 64.09 | 60.26 | 46.5 | 291.66 | 225.19 | 280.9226 | 257.2566 | 538.1791
3 | 2021-03-09 05:48 | 3 | 2 | 0 | 63.7 | 64.13 | 60.21 | 46 | 299.45 | 254.15 | 972.3321 | 895.5714 | 1867.9035
4 | 2021-03-09 05:49 | 3 | 2 | 0 | 63.9 | 64.19 | 63.43 | 46 | 299.68 | 274.36 | 1121.2806 | 1010.128 | 2131.4086
5 | 2021-03-09 05:50 | 3 | 2 | 0 | 63.9 | 64.19 | 73.03 | 46 | 265.51 | 247.65 | 1207.709 | 1071.78 | 2279.489
6 | 2021-03-09 05:51 | 3 | 2 | 0 | 63.9 | 64.23 | 79.53 | 46 | 257.13 | 261.11 | 1263.8784 | 1113.6914 | 2377.5698
7 | 2021-03-09 05:52 | 3 | 2 | 0 | 63.9 | 64.51 | 84.23 | 46.2 | 253.41 | 256.15 | 64.7683 | 48.0387 | 112.807
8 | 2021-03-09 05:53 | 3 | 2 | 0 | 63.9 | 64.93 | 88.25 | 46.1 | 255.41 | 234.61 | 51.5094 | 35.3657 | 86.8751
9 | 2021-03-09 05:54 | 3 | 2 | 0 | 63.9 | 65.48 | 84.18 | 45.9 | 306.77 | 245.96 | 219.7808 | 194.3802 | 414.161
10 | 2021-03-09 05:55 | 3 | 2 | 0 | 63.9 | 65.93 | 80.5 | 45.8 | 337.88 | 257.42 | 983.9431 | 905.6178 | 1889.561
11 | 2021-03-09 05:56 | 3 | 2 | 0 | 64 | 66.14 | 79.59 | 45.8 | 348.62 | 256.66 | 1173.103 | 1048.7876 | 2221.8906
12 | 2021-03-09 05:57 | 3 | 2 | 0 | 64.2 | 66.26 | 87.3 | 45.8 | 296.2 | 245.61 | 146.2505 | 121.1929 | 267.4434
13 | 2021-03-09 05:58 | 3 | 2 | 0 | 64.2 | 66.57 | 92.02 | 45.7 | 284.16 | 241 | 51.7446 | 34.7085 | 86.4532
14 | 2021-03-09 05:59 | 3 | 2 | 0 | 64.3 | 66.97 | 88.34 | 45.8 | 323.12 | 259.67 | 75.2353 | 57.0603 | 132.2956
15 | 2021-03-09 06:00 | 3 | 2 | 0 | 64.5 | 67.37 | 84.33 | 45.8 | 346.91 | 274.25 | 933.5194 | 865.671 | 1799.1904
16 | 2021-03-09 06:01 | 3 | 2 | 0 | 64.5 | 67.52 | 81.86 | 45.8 | 360.42 | 267.91 | 1147.4973 | 1032.2656 | 2179.7629
17 | 2021-03-09 06:02 | 3 | 2 | 0 | 64.8 | 67.55 | 87.95 | 45.8 | 317.86 | 260.85 | 241.4171 | 206.6532 | 448.0703
18 | 2021-03-09 06:03 | 3 | 2 | 0 | 64.7 | 67.73 | 93.53 | 46 | 289.65 | 256.45 | 51.2715 | 35.1098 | 86.3813
19 | 2021-03-09 06:04 | 3 | 2 | 0 | 64.8 | 68.02 | 90.14 | 46.2 | 323.12 | 256.81 | 50.6151 | 34.8772 | 85.4923
20 | 2021-03-09 06:05 | 3 | 2 | 0 | 64.9 | 68.31 | 86.25 | 46.4 | 345.25 | 249.7 | 763.4457 | 692.7762 | 1456.2219
21 | 2021-03-09 06:06 | 3 | 2 | 0 | 64.9 | 68.45 | 82.61 | 46.1 | 367.98 | 272 | 1121.518 | 1012.8971 | 2134.4151
22 | 2021-03-09 06:07 | 3 | 2 | 0 | 64.9 | 68.47 | 87.7 | 46.4 | 324.12 | 263.82 | 416.8331 | 365.8494 | 782.6825
23 | 2021-03-09 06:08 | 3 | 2 | 0 | 65.1 | 68.54 | 93.65 | 46.4 | 295.97 | 261.01 | 51.0586 | 34.7254 | 85.784
24 | 2021-03-09 06:09 | 3 | 2 | 0 | 65 | 68.71 | 91.52 | 46.9 | 313.02 | 275.43 | 50.7893 | 34.9864 | 85.7757
25 | 2021-03-09 06:10 | 3 | 2 | 0 | 65.1 | 68.99 | 87.42 | 47.1 | 346.85 | 275.02 | 587.4738 | 479.573 | 1067.0468
26 | 2021-03-09 06:11 | 3 | 2 | 0 | 65.1 | 69.06 | 83.92 | 47 | 370.75 | 253.64 | 1068.4986 | 977.5656 | 2046.0642
27 | 2021-03-09 06:12 | 3 | 2 | 0 | 65.4 | 69.16 | 86.76 | 46.8 | 323.65 | 305.21 | 662.8412 | 590.2673 | 1253.1085
28 | 2021-03-09 06:13 | 3 | 2 | 0 | 65.3 | 68.95 | 92.84 | 46.8 | 297.32 | 252.05 | 50.3999 | 34.837 | 85.2369
29 | 2021-03-09 06:14 | 3 | 2 | 0 | 65.2 | 69.17 | 92.83 | 46.7 | 310.37 | 259.32 | 50.8966 | 35.1125 | 86.0091
30 | 2021-03-09 06:15 | 3 | 2 | 0 | 65.3 | 69.42 | 88.46 | 46.6 | 343.36 | 253.38 | 369.9138 | 272.4914 | 642.4052
31 | 2021-03-09 06:16 | 3 | 2 | 0 | 65.3 | 69.51 | 84.89 | 46.4 | 363.43 | 271.9 | 1012.8325 | 937.9767 | 1950.8091
32 | 2021-03-09 06:17 | 3 | 2 | 0 | 65.6 | 69.5 | 85.03 | 46.4 | 350.86 | 273.79 | 922.5144 | 826.7671 | 1749.2815
33 | 2021-03-09 06:18 | 3 | 2 | 0 | 65.6 | 69.47 | 91.59 | 46.3 | 295.26 | 283.97 | 50.3276 | 34.9458 | 85.2734
34 | 2021-03-09 06:19 | 3 | 2 | 0 | 65.4 | 69.55 | 94.02 | 46.5 | 299.68 | 257.73 | 50.1574 | 34.7336 | 84.891
35 | 2021-03-09 06:20 | 3 | 2 | 0 | 65.5 | 69.73 | 89.64 | 46.5 | 332.15 | 257.94 | 55.299 | 39.2366 | 94.5356
36 | 2021-03-09 06:21 | 3 | 2 | 0 | 65.5 | 69.95 | 85.66 | 46.3 | 361.19 | 265.1 | 933.5507 | 869.0203 | 1802.571
37 | 2021-03-09 06:22 | 3 | 2 | 0 | 65.8 | 69.87 | 83.18 | 46.3 | 373.88 | 261.11 | 1190.234 | 1069.6032 | 2259.8372
38 | 2021-03-09 06:23 | 3 | 2 | 0 | 65.8 | 69.8 | 89.58 | 46.3 | 318.16 | 289.55 | 78.6787 | 60.8833 | 139.562
39 | 2021-03-09 06:24 | 3 | 2 | 0 | 65.7 | 69.81 | 95.17 | 46.7 | 283.75 | 255.74 | 50.3476 | 35.525 | 85.8726
40 | 2021-03-09 06:25 | 3 | 2 | 0 | 65.7 | 69.99 | 90.53 | 46.5 | 329.85 | 254.82 | 50.2201 | 34.787 | 85.0071
41 | 2021-03-09 06:26 | 3 | 2 | 0 | 65.7 | 70.16 | 86.69 | 46.5 | 353.34 | 262.8 | 647.1792 | 601.9533 | 1249.1325
42 | 2021-03-09 06:27 | 3 | 2 | 0 | 66 | 70.18 | 83.96 | 46.4 | 370.58 | 263.46 | 1136.7241 | 1030.5956 | 2167.3197
43 | 2021-03-09 06:28 | 3 | 2 | 0 | 66 | 70.06 | 88.36 | 46.4 | 328.08 | 262.13 | 453.8281 | 396.2403 | 850.0684
44 | 2021-03-09 06:29 | 3 | 2 | 0 | 66 | 69.99 | 93.78 | 46.7 | 291.07 | 274.56 | 50.6405 | 35.1914 | 85.832
45 | 2021-03-09 06:30 | 3 | 2 | 0 | 65.8 | 70.13 | 92.69 | 47 | 322.35 | 251.44 | 50.6287 | 34.8839 | 85.5126
46 | 2021-03-09 06:31 | 3 | 2 | 0 | 65.9 | 70.39 | 88.02 | 46.7 | 344.31 | 265.05 | 311.0923 | 283.0924 | 594.1847
47 | 2021-03-09 06:32 | 3 | 2 | 0 | 66 | 70.46 | 84.7 | 46.6 | 365.62 | 257.42 | 1055.9439 | 969.8565 | 2025.8004
48 | 2021-03-09 06:33 | 3 | 2 | 0 | 66 | 70.32 | 85.21 | 46.5 | 349.15 | 273.23 | 845.207 | 749.1823 | 1594.3893
49 | 2021-03-09 06:34 | 3 | 2 | 0 | 66 | 70.22 | 92.86 | 46.9 | 301.16 | 264.53 | 50.4165 | 35.2105 | 85.6271
50 | 2021-03-09 06:35 | 3 | 2 | 0 | 65.9 | 70.26 | 93.9 | 47.1 | 304.7 | 241.51 | 50.6098 | 35.1129 | 85.7227
51 | 2021-03-09 06:36 | 3 | 2 | 0 | 66.1 | 70.57 | 89.16 | 47 | 345.37 | 265.4 | 50.7489 | 35.3088 | 86.0577
52 | 2021-03-09 06:37 | 3 | 2 | 0 | 66.1 | 70.63 | 85.92 | 46.9 | 366.5 | 268.12 | 1000.0209 | 872.6598 | 1872.6808
53 | 2021-03-09 06:38 | 3 | 2 | 0 | 66.2 | 70.55 | 83.41 | 46.9 | 368.86 | 263.41 | 1205.204 | 1079.9982 | 2285.2022
54 | 2021-03-09 06:39 | 3 | 2 | 0 | 66.4 | 70.48 | 89.42 | 46.9 | 321.58 | 256.3 | 107.9037 | 87.7555 | 195.6592
55 | 2021-03-09 06:40 | 3 | 2 | 0 | 66.3 | 70.48 | 95.34 | 46.9 | 288.82 | 281.26 | 50.3144 | 34.8993 | 85.2138
56 | 2021-03-09 06:41 | 3 | 2 | 0 | 66.2 | 70.64 | 91.16 | 47.1 | 329.91 | 256.35 | 50.307 | 34.5555 | 84.8624
57 | 2021-03-09 06:42 | 3 | 2 | 0 | 66.3 | 70.81 | 87.54 | 47 | 351.86 | 267.96 | 500.3343 | 462.9012 | 963.2355
58 | 2021-03-09 06:43 | 3 | 2 | 0 | 66.4 | 70.83 | 84.38 | 46.9 | 367.15 | 252.62 | 1109.7511 | 1009.9766 | 2119.7277
59 | 2021-03-09 06:44 | 3 | 2 | 0 | 66.4 | 70.73 | 86.73 | 46.7 | 341.83 | 274.36 | 574.6907 | 505.1425 | 1079.8333
60 | 2021-03-09 06:45 | 3 | 2 | 0 | 66.3 | 70.61 | 94.23 | 46.8 | 294.78 | 251.64 | 50.6696 | 34.841 | 85.5105
61 | 2021-03-09 06:46 | 3 | 2 | 0 | 66.4 | 70.73 | 92.81 | 46.8 | 315.74 | 257.01 | 50.6773 | 34.9486 | 85.6259
62 | 2021-03-09 06:47 | 3 | 2 | 0 | 66.4 | 70.97 | 88.46 | 46.9 | 351.16 | 266.27 | 170.5431 | 146.4897 | 317.0328
63 | 2021-03-09 06:48 | 3 | 2 | 0 | 66.5 | 70.99 | 85.23 | 46.8 | 365.68 | 246.02 | 1013.4654 | 939.3262 | 1952.7915
64 | 2021-03-09 06:49 | 3 | 2 | 0 | 66.5 | 70.97 | 84.79 | 46.7 | 357.94 | 263.46 | 1017.4564 | 908.2188 | 1925.6752
65 | 2021-03-09 06:50 | 3 | 2 | 0 | 66.5 | 70.79 | 91.51 | 46.7 | 309.19 | 260.9 | 50.339 | 34.824 | 85.163
66 | 2021-03-09 06:51 | 3 | 2 | 0 | 66.5 | 70.86 | 94.89 | 46.8 | 291.18 | 272 | 50.257 | 34.9276 | 85.1845
67 | 2021-03-09 06:52 | 3 | 2 | 0 | 66.5 | 71.05 | 90.24 | 46.9 | 339.59 | 258.5 | 50.548 | 35.2136 | 85.7616
68 | 2021-03-09 06:53 | 3 | 2 | 0 | 66.7 | 71.16 | 86.6 | 47 | 361.66 | 256.61 | 662.517 | 617.211 | 1279.728
69 | 2021-03-09 06:54 | 3 | 2 | 0 | 66.8 | 71.13 | 83.82 | 46.9 | 370.93 | 260.03 | 1169.4173 | 1056.1211 | 2225.5384
70 | 2021-03-09 06:55 | 3 | 2 | 0 | 66.8 | 71.01 | 88.86 | 47.3 | 321.11 | 268.12 | 382.7623 | 331.7698 | 714.5321
71 | 2021-03-09 06:56 | 3 | 2 | 0 | 66.8 | 70.91 | 95.18 | 47.7 | 280.38 | 301.83 | 50.6578 | 34.4656 | 85.1234
72 | 2021-03-09 06:57 | 3 | 2 | 0 | 66.8 | 71.13 | 92.82 | 48.3 | 316.15 | 262.95 | 49.9614 | 34.8063 | 84.7677
73 | 2021-03-09 06:58 | 3 | 2 | 0 | 66.8 | 71.25 | 88.51 | 48.5 | 352.16 | 266.33 | 202.2713 | 160.9113 | 363.1826
74 | 2021-03-09 06:59 | 3 | 2 | 0 | 66.9 | 71.29 | 85.58 | 48 | 362.49 | 277.63 | 1021.5805 | 945.9855 | 1967.566
75 | 2021-03-09 07:00 | 3 | 2 | 0 | 66.9 | 71.19 | 84.53 | 47.5 | 357.35 | 285.41 | 1031.0632 | 918.0414 | 1949.1046
76 | 2021-03-09 07:01 | 3 | 2 | 0 | 67.1 | 71.05 | 92.01 | 47.7 | 307.06 | 270.26 | 50.6884 | 35.2405 | 85.929
77 | 2021-03-09 07:02 | 3 | 2 | 0 | 67 | 71.04 | 95.81 | 48.1 | 295.2 | 243.61 | 50.6452 | 34.4458 | 85.0911
78 | 2021-03-09 07:03 | 3 | 2 | 0 | 67 | 71.28 | 90.35 | 47.7 | 332.27 | 260.65 | 50.8582 | 35.1077 | 85.9659
79 | 2021-03-09 07:04 | 3 | 2 | 0 | 67.1 | 71.39 | 86.81 | 47.3 | 357.59 | 250.52 | 627.4076 | 581.5065 | 1208.9141
80 | 2021-03-09 07:05 | 3 | 2 | 0 | 67.1 | 71.37 | 83.86 | 47.1 | 372.35 | 252.1 | 1175.5556 | 1060.8181 | 2236.3736
81 | 2021-03-09 07:06 | 3 | 2 | 0 | 67.3 | 71.29 | 88.78 | 47 | 298.5 | 264.79 | 448.6662 | 388.1655 | 836.8317
82 | 2021-03-09 07:07 | 3 | 2 | 0 | 67.3 | 71.13 | 94.17 | 47.3 | 267.87 | 237.17 | 50.6795 | 34.5668 | 85.2463
83 | 2021-03-09 07:08 | 3 | 2 | 0 | 67.3 | 71.2 | 92.94 | 47.1 | 313.56 | 258.04 | 50.4041 | 34.9498 | 85.3539
84 | 2021-03-09 07:09 | 3 | 2 | 0 | 67.3 | 71.43 | 88.71 | 47.1 | 347.79 | 241.21 | 102.8831 | 83.7494 | 186.6326
85 | 2021-03-09 07:10 | 3 | 2 | 0 | 67.3 | 71.54 | 85.54 | 46.9 | 367.27 | 261.06 | 992.067 | 920.3528 | 1912.4198
86 | 2021-03-09 07:11 | 3 | 2 | 0 | 67.3 | 71.46 | 84.36 | 46.7 | 363.49 | 258.5 | 1125.7672 | 1002.5903 | 2128.3575
87 | 2021-03-09 07:12 | 3 | 2 | 0 | 67.5 | 71.35 | 91 | 46.8 | 309.13 | 277.53 | 49.7362 | 33.74 | 83.4763
88 | 2021-03-09 07:13 | 3 | 2 | 0 | 67.4 | 71.31 | 95.82 | 47 | 277.19 | 227.86 | 49.983 | 34.14 | 84.123
89 | 2021-03-09 07:14 | 3 | 2 | 0 | 67.4 | 71.43 | 91.58 | 47.1 | 307.36 | 236.09 | 50.5225 | 34.7707 | 85.2932
90 | 2021-03-09 07:15 | 3 | 2 | 0 | 67.4 | 71.6 | 87.5 | 47.1 | 351.45 | 259.57 | 381.5695 | 348.2039 | 729.7734
91 | 2021-03-09 07:16 | 3 | 2 | 0 | 67.8 | 71.59 | 84.92 | 47.1 | 371.4 | 259.11 | 1105.5506 | 1006.0206 | 2111.5712
92 | 2021-03-09 07:17 | 3 | 2 | 0 | 67.8 | 71.52 | 85.99 | 47 | 312.49 | 244.17 | 813.591 | 712.9953 | 1526.5863
93 | 2021-03-09 07:18 | 3 | 2 | 0 | 67.8 | 71.34 | 93.35 | 47.5 | 262.79 | 231.08 | 50.0722 | 34.1611 | 84.2333
94 | 2021-03-09 07:19 | 3 | 2 | 0 | 67.7 | 71.37 | 94.79 | 48.2 | 284.51 | 264.94 | 49.9523 | 34.0806 | 84.0329
95 | 2021-03-09 07:20 | 3 | 2 | 0 | 67.7 | 71.54 | 90.4 | 48.3 | 327.78 | 227.39 | 50.0016 | 34.4689 | 84.4705
96 | 2021-03-09 07:21 | 3 | 2 | 0 | 67.8 | 71.7 | 87.19 | 47.9 | 345.55 | 290.47 | 487.764 | 447.5981 | 935.3621
97 | 2021-03-09 07:22 | 3 | 2 | 0 | 67.8 | 71.65 | 84.6 | 48.1 | 353.52 | 252.72 | 1145.3615 | 1035.3748 | 2180.7363
98 | 2021-03-09 07:23 | 3 | 2 | 0 | 68 | 71.53 | 87.62 | 48.1 | 324.36 | 251.23 | 640.319 | 559.3692 | 1199.6882
99 | 2021-03-09 07:24 | 3 | 2 | 0 | 68 | 71.44 | 94 | 48 | 271.88 | 253.74 | 49.9639 | 34.1489 | 84.1129
100 | 2021-03-09 07:25 | 3 | 2 | 0 | 67.9 | 71.46 | 94.53 | 47.8 | 288.47 | 231.38 | 50.1594 | 34.7167 | 84.8761
101 | 2021-03-09 07:26 | 3 | 2 | 0 | 67.9 | 71.69 | 89.47 | 47.6 | 346.02 | 249.65 | 51.0991 | 34.6763 | 85.7754
102 | 2021-03-09 07:27 | 3 | 2 | 0 | 68 | 71.83 | 86.51 | 47.6 | 359.77 | 249.24 | 752.9741 | 697.7639 | 1450.7381
103 | 2021-03-09 07:28 | 3 | 2 | 0 | 68 | 71.78 | 83.66 | 47.4 | 377.07 | 253.38 | 1194.5575 | 1071.3128 | 2265.8702
104 | 2021-03-09 07:29 | 3 | 2 | 0 | 68.2 | 71.68 | 89.97 | 47.3 | 318.16 | 253.08 | 279.0676 | 239.177 | 518.2446
105 | 2021-03-09 07:30 | 3 | 2 | 0 | 68.1 | 71.64 | 95.43 | 47.4 | 276.55 | 256.71 | 49.661 | 34.0468 | 83.7078
106 | 2021-03-09 07:31 | 3 | 2 | 0 | 68 | 71.79 | 92.35 | 47.7 | 304.52 | 242.54 | 50.8069 | 35.029 | 85.8359
107 | 2021-03-09 07:32 | 3 | 2 | 0 | 68 | 71.93 | 88.62 | 47.7 | 322.53 | 246.58 | 189.2044 | 101.3631 | 290.5675
108 | 2021-03-09 07:33 | 3 | 2 | 0 | 68.2 | 71.99 | 85.75 | 47.6 | 366.33 | 251.13 | 989.5232 | 916.6263 | 1906.1496
109 | 2021-03-09 07:34 | 3 | 2 | 0 | 68.2 | 71.94 | 84.11 | 47.6 | 359.95 | 283.62 | 1173.6083 | 1042.864 | 2216.4723
110 | 2021-03-09 07:35 | 3 | 2 | 0 | 68.2 | 71.81 | 91.82 | 47.8 | 307.65 | 258.4 | 50.4777 | 34.1158 | 84.5935
111 | 2021-03-09 07:36 | 3 | 2 | 0 | 68.1 | 71.77 | 95.99 | 48.1 | 294.61 | 243.41 | 50.9069 | 34.3269 | 85.2338
112 | 2021-03-09 07:37 | 3 | 2 | 0 | 68.1 | 72.01 | 91.38 | 47.9 | 332.86 | 246.07 | 50.9071 | 35.0544 | 85.9615
113 | 2021-03-09 07:38 | 3 | 2 | 0 | 68.1 | 72.21 | 87.65 | 47.9 | 354.76 | 284.08 | 356.0386 | 300.4659 | 656.5045
114 | 2021-03-09 07:39 | 3 | 2 | 0 | 68.4 | 72.13 | 85.16 | 48 | 335.93 | 229.9 | 1096.1136 | 998.7644 | 2094.878
115 | 2021-03-09 07:40 | 3 | 2 | 0 | 68.4 | 72.03 | 86.2 | 47.9 | 309.25 | 250.77 | 880.2569 | 769.7091 | 1649.9661
116 | 2021-03-09 07:41 | 3 | 2 | 0 | 68.4 | 71.88 | 93.52 | 48.5 | 269.46 | 238.29 | 50.3135 | 33.9706 | 84.2842
117 | 2021-03-09 07:42 | 3 | 2 | 0 | 68.3 | 71.93 | 95.24 | 48.3 | 295.55 | 235.94 | 50.3822 | 34.1665 | 84.5487
118 | 2021-03-09 07:43 | 3 | 2 | 0 | 68.3 | 72.11 | 90.86 | 48.2 | 329.32 | 234.4 | 49.9366 | 34.4087 | 84.3453
119 | 2021-03-09 07:44 | 3 | 2 | 0 | 68.4 | 72.27 | 87.17 | 47.9 | 348.68 | 252.05 | 451.6469 | 414.6658 | 866.3127
120 | 2021-03-09 07:45 | 3 | 2 | 0 | 68.4 | 72.22 | 84.81 | 48 | 358.3 | 243.56 | 1117.1851 | 1015.9116 | 2133.0967
121 | 2021-03-09 07:46 | 3 | 2 | 0 | 68.6 | 72.11 | 87.57 | 47.9 | 338.17 | 246.02 | 673.0131 | 589.9935 | 1263.0066
122 | 2021-03-09 07:47 | 3 | 2 | 0 | 68.6 | 72.02 | 93.95 | 47.9 | 294.19 | 243.46 | 50.4721 | 34.8307 | 85.3028
123 | 2021-03-09 07:48 | 3 | 2 | 0 | 68.5 | 72.14 | 94.5 | 48 | 314.03 | 258.5 | 51.108 | 34.649 | 85.757
124 | 2021-03-09 07:49 | 3 | 2 | 0 | 68.6 | 72.4 | 89.53 | 48.1 | 341.59 | 263 | 50.3157 | 34.2494 | 84.5651
125 | 2021-03-09 07:50 | 3 | 2 | 0 | 68.6 | 72.4 | 86.71 | 48.1 | 347.14 | 262.69 | 714.0287 | 661.0648 | 1375.0935
126 | 2021-03-09 07:51 | 3 | 2 | 0 | 68.7 | 72.35 | 84.02 | 48.3 | 358.95 | 255.43 | 1209.6357 | 1084.4599 | 2294.0956
127 | 2021-03-09 07:52 | 3 | 2 | 0 | 68.7 | 72.22 | 90.25 | 48.5 | 306.89 | 246.78 | 352.4196 | 302.4801 | 654.8997
128 | 2021-03-09 07:53 | 3 | 2 | 0 | 68.7 | 72.14 | 96.13 | 48.8 | 270.58 | 267.86 | 49.9459 | 34.1517 | 84.0975
129 | 2021-03-09 07:54 | 3 | 2 | 0 | 68.8 | 72.28 | 93.15 | 49.1 | 309.07 | 250.01 | 50.0116 | 34.2667 | 84.2783
130 | 2021-03-09 07:55 | 3 | 2 | 0 | 68.8 | 72.4 | 89.48 | 48.8 | 331.2 | 244.17 | 50.5682 | 33.7494 | 84.3176
131 | 2021-03-09 07:56 | 3 | 2 | 0 | 68.8 | 72.44 | 86.67 | 48.5 | 333.33 | 261.01 | 739.9874 | 683.5365 | 1423.5238
132 | 2021-03-09 07:57 | 3 | 2 | 0 | 68.8 | 72.32 | 84.2 | 48.5 | 379.19 | 267.5 | 1214.8486 | 1087.6632 | 2302.5118
133 | 2021-03-09 07:58 | 3 | 2 | 0 | 68.8 | 72.18 | 90.71 | 49.4 | 318.57 | 281.77 | 327.3331 | 280.8577 | 608.1908
134 | 2021-03-09 07:59 | 3 | 2 | 0 | 68.8 | 72.16 | 96.31 | 49.3 | 288.88 | 247.55 | 50.4431 | 34.3619 | 84.805
135 | 2021-03-09 08:00 | 3 | 2 | 0 | 68.8 | 72.3 | 93.49 | 49 | 323 | 238.14 | 50.8369 | 34.7391 | 85.576
136 | 2021-03-09 08:01 | 3 | 2 | 0 | 68.8 | 72.58 | 88.82 | 48.8 | 356.88 | 266.43 | 51.0249 | 34.6429 | 85.6678
137 | 2021-03-09 08:02 | 3 | 2 | 0 | 68.8 | 72.55 | 86.01 | 48.8 | 371.64 | 257.42 | 953.1196 | 880.5054 | 1833.625
138 | 2021-03-09 08:03 | 3 | 2 | 0 | 69 | 72.48 | 84.01 | 48.7 | 370.46 | 281.57 | 1290.5238 | 1138.468 | 2428.9918
139 | 2021-03-09 08:04 | 3 | 2 | 0 | 69 | 72.28 | 91.7 | 48.8 | 275.6 | 225.3 | 53.9612 | 38.8705 | 92.8316
140 | 2021-03-09 08:05 | 3 | 2 | 0 | 68.9 | 72.27 | 96.75 | 48.7 | 252.93 | 218.03 | 51.0392 | 34.2048 | 85.244
141 | 2021-03-09 08:06 | 3 | 2 | 0 | 68.9 | 72.42 | 92.66 | 48.4 | 328.43 | 218.8 | 50.2613 | 34.6971 | 84.9584
142 | 2021-03-09 08:07 | 3 | 2 | 0 | 69 | 72.59 | 88.83 | 48.1 | 351.45 | 249.96 | 187.8807 | 101.8153 | 289.6959
143 | 2021-03-09 08:08 | 3 | 2 | 0 | 69 | 72.61 | 85.55 | 48 | 358.89 | 235.89 | 999.2882 | 923.6136 | 1922.9018
144 | 2021-03-09 08:09 | 3 | 2 | 0 | 69 | 72.53 | 84.69 | 47.8 | 346.61 | 278.96 | 1189.3479 | 1053.5003 | 2242.8482
145 | 2021-03-09 08:10 | 3 | 2 | 0 | 69.2 | 72.37 | 91.64 | 48.2 | 301.57 | 260.6 | 50.1976 | 35.0416 | 85.2392
146 | 2021-03-09 08:11 | 3 | 2 | 0 | 69.1 | 72.38 | 96.46 | 48.2 | 290.42 | 223.61 | 50.5373 | 34.7487 | 85.286
147 | 2021-03-09 08:12 | 3 | 2 | 0 | 69 | 72.62 | 91.81 | 48 | 334.57 | 246.99 | 50.776 | 34.536 | 85.312
148 | 2021-03-09 08:13 | 3 | 2 | 0 | 69.2 | 72.76 | 88.07 | 48.4 | 358.53 | 270.01 | 231.0716 | 203.4772 | 434.5488
149 | 2021-03-09 08:14 | 3 | 2 | 0 | 69.2 | 72.75 | 85.59 | 48.5 | 375.28 | 263.77 | 1075.6831 | 983.7961 | 2059.4792
150 | 2021-03-09 08:15 | 3 | 2 | 0 | 69.4 | 72.65 | 84.93 | 49.1 | 315.86 | 309.45 | 1013.4941 | 887.6722 | 1901.1662
151 | 2021-03-09 08:16 | 3 | 2 | 0 | 69.4 | 72.52 | 92.8 | 50.2 | 285.75 | 262.64 | 49.0957 | 33.1869 | 82.2826
152 | 2021-03-09 08:17 | 3 | 2 | 0 | 69.4 | 72.47 | 96.64 | 49.9 | 253.35 | 228.21 | 49.7503 | 33.2748 | 83.0251
153 | 2021-03-09 08:18 | 3 | 2 | 0 | 69.4 | 72.61 | 92.28 | 50 | 294.84 | 221.2 | 49.3408 | 33.2635 | 82.6043
154 | 2021-03-09 08:19 | 3 | 2 | 0 | 69.4 | 72.72 | 89.16 | 50.1 | 305.94 | 244.07 | 49.3859 | 32.9898 | 82.3758
155 | 2021-03-09 08:20 | 3 | 2 | 0 | 69.4 | 72.66 | 86.86 | 50.1 | 322.23 | 213.58 | 792.5137 | 730.5263 | 1523.04
156 | 2021-03-09 08:21 | 3 | 2 | 0 | 69.7 | 72.6 | 84.61 | 49.7 | 309.48 | 225.66 | 365.2604 | 321.0332 | 686.2936
157 | 2021-03-09 08:22 | 3 | 2 | 0 | 69.7 | 72.48 | 88.85 | 50.5 | 236.17 | 244.02 | 48.4821 | 31.7507 | 80.2328
158 | 2021-03-09 08:23 | 3 | 2 | 0 | 69.6 | 72.26 | 90.5 | 51.7 | 234.1 | 224.27 | 48.6946 | 31.8532 | 80.5478
159 | 2021-03-09 08:24 | 3 | 2 | 0 | 69.6 | 72.28 | 87.93 | 52.1 | 262.91 | 183.86 | 48.2271 | 30.5134 | 78.7405
160 | 2021-03-09 08:25 | 3 | 2 | 0 | 69.9 | 72.22 | 85.7 | 51.1 | 276.96 | 188.72 | 47.4102 | 31.0201 | 78.4304
161 | 2021-03-09 08:26 | 3 | 2 | 0 | 69.9 | 72.16 | 84.13 | 51.1 | 236.41 | 193.48 | 47.4844 | 31.6267 | 79.1111
162 | 2021-03-09 08:27 | 3 | 2 | 0 | 70 | 72.06 | 82.7 | 51.3 | 235.58 | 214.14 | 47.5997 | 30.9457 | 78.5454
163 | 2021-03-09 08:28 | 3 | 2 | 0 | 69.9 | 71.89 | 81.21 | 51.2 | 228.02 | 180.69 | 47.2041 | 30.8345 | 78.0387
164 | 2021-03-09 08:29 | 3 | 2 | 0 | 70.1 | 71.76 | 79.78 | 51.4 | 232.81 | 175.01 | 47.2784 | 31.188 | 78.4664
165 | 2021-03-09 08:30 | 3 | 2 | 0 | 70 | 71.61 | 78.67 | 51.5 | 220.59 | 164.01 | 47.4451 | 30.4928 | 77.9379
166 | 2021-03-09 08:31 | 3 | 2 | 0 | 70 | 71.5 | 77.55 | 51.7 | 210.26 | 178.33 | 47.2991 | 30.9766 | 78.2758
167 | 2021-03-09 08:32 | 3 | 2 | 0 | 70 | 71.33 | 76.19 | 51.6 | 221.47 | 163.5 | 47.2059 | 30.923 | 78.1289
168 | 2021-03-09 08:33 | 3 | 2 | 0 | 70.2 | 71.23 | 75.09 | 51.4 | 227.73 | 167.03 | 47.021 | 30.458 | 77.4789
169 | 2021-03-09 08:34 | 3 | 2 | 0 | 70.2 | 71.15 | 74.19 | 51 | 216.75 | 177.67 | 46.9725 | 30.0428 | 77.0152
170 | 2021-03-09 08:35 | 3 | 2 | 0 | 70.2 | 71.05 | 73.55 | 51.8 | 190.66 | 161.2 | 47.0685 | 30.7722 | 77.8407
171 | 2021-03-09 08:36 | 3 | 2 | 0 | 70.2 | 70.95 | 72.79 | 51.7 | 190.19 | 146.41 | 46.6737 | 30.0301 | 76.7038
172 | 2021-03-09 08:37 | 3 | 2 | 0 | 70.2 | 70.87 | 72.19 | 51.5 | 185.35 | 152.3 | 46.8591 | 30.6144 | 77.4735
173 | 2021-03-09 08:38 | 3 | 2 | 0 | 70.2 | 70.77 | 71.39 | 51.3 | 185.11 | 141.55 | 46.2657 | 30.0654 | 76.331
174 | 2021-03-09 08:39 | 3 | 2 | 0 | 70.3 | 70.71 | 70.99 | 51.9 | 161.8 | 139.86 | 46.2967 | 30.4908 | 76.7874
175 | 2021-03-09 08:40 | 3 | 2 | 0 | 70.3 | 70.63 | 70.62 | 52.1 | 142.26 | 155.57 | 46.5789 | 29.9964 | 76.5752
176 | 2021-03-09 08:41 | 3 | 2 | 0 | 70.3 | 70.55 | 70.01 | 52.7 | 164.51 | 131.78 | 46.3837 | 29.9519 | 76.3357
177 | 2021-03-09 08:42 | 3 | 2 | 0 | 70.3 | 70.42 | 69.52 | 52.1 | 162.98 | 119.61 | 46.3564 | 30.0972 | 76.4536
178 | 2021-03-09 08:43 | 3 | 2 | 0 | 70.3 | 70.36 | 69.15 | 51.5 | 146.21 | 135.93 | 46.6861 | 29.853 | 76.5392
179 | 2021-03-09 08:44 | 3 | 2 | 0 | 70.4 | 70.31 | 68.78 | 53 | 159.02 | 128.87 | 45.8004 | 29.6478 | 75.4481
180 | 2021-03-09 08:45 | 3 | 2 | 0 | 70.4 | 70.22 | 68.36 | 52.1 | 162.56 | 119.35 | 46.4846 | 29.7203 | 76.2049