## Sheet1
Minutes | datetime | Control_Status 1 - off 2 - cool 3 - heat | System_Mode 1 - off 2 - auto 3 - cool 4 - heat | Reversing_Valve_Status 0 - heating 1 - cooling | Room_Temperature [F] | Ebtron_Return_Air_Temp [F] | Ebtron_Supply_Air_Temp [F] | Outside_Air_Temp [F] | Ebtron_Supply_Airflow [CFM] | Ebtron_Return_Airflow [CFM] | PRB-ActivePower28 [W] | PRB-ActivePower42 [W] | Total Power [W]
0 | 2021-03-12 05:45 | 3 | 2 | 0 | 62.5 | 62.68 | 58.38 | 44.6 | 262.5 | 186.16 | 48.84 | 31.9312 | 80.7711
1 | 2021-03-12 05:46 | 3 | 2 | 0 | 62.5 | 62.71 | 58.31 | 44.6 | 260.25 | 184.63 | 50.0567 | 34.295 | 84.3517
2 | 2021-03-12 05:47 | 3 | 2 | 0 | 62.4 | 62.75 | 58.21 | 44.6 | 297.15 | 200.49 | 49.6571 | 33.0591 | 82.7162
3 | 2021-03-12 05:48 | 3 | 2 | 0 | 62.4 | 62.79 | 58.11 | 44.4 | 294.61 | 205.55 | 50.7692 | 34.2991 | 85.0682
4 | 2021-03-12 05:49 | 3 | 2 | 0 | 62.4 | 62.82 | 58.08 | 44.3 | 303.76 | 208.47 | 51.9508 | 35.2172 | 87.1681
5 | 2021-03-12 05:50 | 3 | 2 | 0 | 62.4 | 62.86 | 58.06 | 44.2 | 325.42 | 230.31 | 327.2846 | 234.7714 | 562.056
6 | 2021-03-12 05:51 | 3 | 2 | 0 | 62.4 | 62.86 | 58.04 | 44.2 | 327.55 | 231.49 | 881.7344 | 827.5246 | 1709.259
7 | 2021-03-12 05:52 | 3 | 2 | 0 | 62.5 | 62.87 | 64.87 | 44.2 | 300.98 | 242.38 | 1058.977 | 965.2757 | 2024.2527
8 | 2021-03-12 05:53 | 3 | 2 | 0 | 62.5 | 62.87 | 72.84 | 44.2 | 275.95 | 236.4 | 1155.8519 | 1037.8061 | 2193.658
9 | 2021-03-12 05:54 | 3 | 2 | 0 | 62.5 | 62.92 | 78.42 | 44.2 | 257.48 | 233.53 | 1216.2294 | 1081.9851 | 2298.2145
10 | 2021-03-12 05:55 | 3 | 2 | 0 | 62.4 | 63.19 | 82.82 | 44.2 | 256.06 | 231.85 | 645.526 | 566.007 | 1211.533
11 | 2021-03-12 05:56 | 3 | 2 | 0 | 62.4 | 63.68 | 87.09 | 44.3 | 253.58 | 227.14 | 51.9849 | 35.6704 | 87.6553
12 | 2021-03-12 05:57 | 3 | 2 | 0 | 62.4 | 64.2 | 83.54 | 44.3 | 307.06 | 232.05 | 51.7071 | 34.6162 | 86.3234
13 | 2021-03-12 05:58 | 3 | 2 | 0 | 62.6 | 64.7 | 79.85 | 44.2 | 335.87 | 240.13 | 840.1822 | 781.3002 | 1621.4824
14 | 2021-03-12 05:59 | 3 | 2 | 0 | 62.8 | 64.91 | 80.08 | 44.2 | 333.03 | 240.49 | 1102.5531 | 998.0872 | 2100.6404
15 | 2021-03-12 06:00 | 3 | 2 | 0 | 63 | 65.09 | 86.82 | 44.2 | 297.74 | 234.25 | 653.1861 | 579.3395 | 1232.5256
16 | 2021-03-12 06:01 | 3 | 2 | 0 | 63 | 65.3 | 90.81 | 44.2 | 284.22 | 232.2 | 51.1594 | 34.6593 | 85.8187
17 | 2021-03-12 06:02 | 3 | 2 | 0 | 63 | 65.79 | 87.32 | 44.2 | 331.15 | 236.81 | 51.198 | 34.6164 | 85.8144
18 | 2021-03-12 06:03 | 3 | 2 | 0 | 63.2 | 66.12 | 83.77 | 44.2 | 346.08 | 239.98 | 713.6749 | 664.2647 | 1377.9396
19 | 2021-03-12 06:04 | 3 | 2 | 0 | 63.3 | 66.31 | 81.7 | 44.2 | 357.65 | 241.72 | 1074.3645 | 980.179 | 2054.5435
20 | 2021-03-12 06:05 | 3 | 2 | 0 | 63.4 | 66.4 | 88.31 | 44.2 | 308.13 | 235.32 | 668.2656 | 595.564 | 1263.8297
21 | 2021-03-12 06:06 | 3 | 2 | 0 | 63.6 | 66.56 | 92.46 | 44.1 | 292.36 | 230.31 | 50.9368 | 34.4527 | 85.3895
22 | 2021-03-12 06:07 | 3 | 2 | 0 | 63.6 | 66.95 | 88.8 | 44.2 | 331.15 | 239.62 | 50.6751 | 34.8961 | 85.5712
23 | 2021-03-12 06:08 | 3 | 2 | 0 | 63.6 | 67.23 | 85.53 | 44.4 | 349.56 | 238.75 | 603.1119 | 560.251 | 1163.3629
24 | 2021-03-12 06:09 | 3 | 2 | 0 | 63.8 | 67.37 | 82.1 | 44.4 | 369.93 | 247.19 | 1063.8264 | 972.2834 | 2036.1098
25 | 2021-03-12 06:10 | 3 | 2 | 0 | 64 | 67.35 | 88.34 | 44.3 | 321.52 | 240.8 | 722.7983 | 644.3239 | 1367.1222
26 | 2021-03-12 06:11 | 3 | 2 | 0 | 63.9 | 67.42 | 92.74 | 44.3 | 295.2 | 235.68 | 50.6408 | 34.2362 | 84.877
27 | 2021-03-12 06:12 | 3 | 2 | 0 | 63.9 | 67.69 | 90.29 | 44.2 | 320.23 | 237.17 | 50.6028 | 34.5123 | 85.1151
28 | 2021-03-12 06:13 | 3 | 2 | 0 | 63.9 | 67.88 | 86.42 | 44.1 | 350.63 | 243.56 | 494.4502 | 439.9103 | 934.3605
29 | 2021-03-12 06:14 | 3 | 2 | 0 | 64.1 | 67.96 | 82.76 | 44.1 | 369.04 | 246.12 | 1045.9071 | 958.1342 | 2004.0413
30 | 2021-03-12 06:15 | 3 | 2 | 0 | 64.1 | 67.98 | 87.75 | 44.1 | 327.43 | 238.34 | 827.7698 | 738.685 | 1566.4549
31 | 2021-03-12 06:16 | 3 | 2 | 0 | 64.2 | 67.94 | 92.94 | 44.2 | 298.03 | 235.07 | 50.9624 | 34.5723 | 85.5346
32 | 2021-03-12 06:17 | 3 | 2 | 0 | 64.1 | 68.16 | 91.19 | 44.2 | 319.81 | 239.21 | 51.3076 | 35.17 | 86.4776
33 | 2021-03-12 06:18 | 3 | 2 | 0 | 64.3 | 68.38 | 87.01 | 44.3 | 349.92 | 243.05 | 345.6091 | 316.0551 | 661.6642
34 | 2021-03-12 06:19 | 3 | 2 | 0 | 64.5 | 68.49 | 83.43 | 44.3 | 366.21 | 247.4 | 1025.0995 | 945.633 | 1970.7324
35 | 2021-03-12 06:20 | 3 | 2 | 0 | 64.5 | 68.42 | 86.54 | 44.1 | 334.98 | 244.02 | 942.5315 | 844.4927 | 1787.0243
36 | 2021-03-12 06:21 | 3 | 2 | 0 | 64.5 | 68.33 | 92.56 | 44.2 | 303.28 | 236.81 | 50.2075 | 35.0898 | 85.2974
37 | 2021-03-12 06:22 | 3 | 2 | 0 | 64.3 | 68.49 | 92.66 | 44.1 | 313.08 | 237.73 | 50.5132 | 35.6092 | 86.1224
38 | 2021-03-12 06:23 | 3 | 2 | 0 | 64.4 | 68.74 | 87.8 | 44.1 | 350.92 | 243.61 | 227.6393 | 203.2065 | 430.8458
39 | 2021-03-12 06:24 | 3 | 2 | 0 | 64.5 | 68.86 | 83.84 | 44.1 | 374.06 | 247.91 | 1004.7525 | 934.076 | 1938.8285
40 | 2021-03-12 06:25 | 3 | 2 | 0 | 64.7 | 68.76 | 86.13 | 44.2 | 339.41 | 250.26 | 1080.7337 | 970.3115 | 2051.0451
41 | 2021-03-12 06:26 | 3 | 2 | 0 | 64.7 | 68.69 | 92.21 | 44.2 | 303.7 | 239.21 | 50.3256 | 35.1972 | 85.5228
42 | 2021-03-12 06:27 | 3 | 2 | 0 | 64.6 | 68.82 | 93.52 | 44.2 | 307 | 237.98 | 50.9603 | 35.3925 | 86.3529
43 | 2021-03-12 06:28 | 3 | 2 | 0 | 64.6 | 69.08 | 88.14 | 44.2 | 352.63 | 246.73 | 189.5226 | 99.3254 | 288.848
44 | 2021-03-12 06:29 | 3 | 2 | 0 | 64.7 | 69.16 | 84.84 | 44.2 | 364.73 | 249.96 | 959.7684 | 894.3081 | 1854.0766
45 | 2021-03-12 06:30 | 3 | 2 | 0 | 64.7 | 69.12 | 84.45 | 44.2 | 349.33 | 256.4 | 1193.5521 | 1073.1987 | 2266.7508
46 | 2021-03-12 06:31 | 3 | 2 | 0 | 64.9 | 68.95 | 91.15 | 44.2 | 309.36 | 241.36 | 145.5321 | 120.4956 | 266.0278
47 | 2021-03-12 06:32 | 3 | 2 | 0 | 64.8 | 69.06 | 94.06 | 44.3 | 303.05 | 243.2 | 50.2164 | 35.1531 | 85.3695
48 | 2021-03-12 06:33 | 3 | 2 | 0 | 64.9 | 69.27 | 89.1 | 44.3 | 343.07 | 244.23 | 51.1226 | 34.8405 | 85.9631
49 | 2021-03-12 06:34 | 3 | 2 | 0 | 64.9 | 69.39 | 85.59 | 44.2 | 361.01 | 246.37 | 892.6729 | 768.2242 | 1660.8971
50 | 2021-03-12 06:35 | 3 | 2 | 0 | 64.9 | 69.36 | 83.18 | 44.2 | 366.98 | 248.78 | 1155.2681 | 1046.684 | 2201.9521
51 | 2021-03-12 06:36 | 3 | 2 | 0 | 65 | 69.24 | 90.04 | 44.2 | 312.49 | 242.59 | 389.5449 | 340.2106 | 729.7554
52 | 2021-03-12 06:37 | 3 | 2 | 0 | 64.9 | 69.23 | 94.78 | 44.2 | 294.19 | 237.52 | 50.6019 | 34.6728 | 85.2747
53 | 2021-03-12 06:38 | 3 | 2 | 0 | 64.9 | 69.44 | 89.89 | 44.2 | 333.63 | 243.05 | 50.5856 | 34.9613 | 85.547
54 | 2021-03-12 06:39 | 3 | 2 | 0 | 64.9 | 69.58 | 86.03 | 44.2 | 361.37 | 245.56 | 578.9569 | 538.4971 | 1117.454
55 | 2021-03-12 06:40 | 3 | 2 | 0 | 65.1 | 69.58 | 83.18 | 44.3 | 369.93 | 250.52 | 1110.274 | 1013.226 | 2123.4999
56 | 2021-03-12 06:41 | 3 | 2 | 0 | 65.1 | 69.42 | 89.21 | 44.3 | 320.17 | 240.95 | 627.6305 | 555.9765 | 1183.607
57 | 2021-03-12 06:42 | 3 | 2 | 0 | 65.1 | 69.4 | 94.19 | 44.2 | 294.73 | 235.02 | 50.8967 | 34.9677 | 85.8645
58 | 2021-03-12 06:43 | 3 | 2 | 0 | 65 | 69.6 | 90.9 | 44.1 | 330.56 | 235.02 | 50.6165 | 35.2145 | 85.831
59 | 2021-03-12 06:44 | 3 | 2 | 0 | 65.1 | 69.75 | 86.65 | 44 | 357.89 | 242.08 | 392.5791 | 361.596 | 754.1751
60 | 2021-03-12 06:45 | 3 | 2 | 0 | 65.1 | 69.77 | 83.42 | 44.1 | 373.23 | 245.35 | 1064.5389 | 980.032 | 2044.5709
61 | 2021-03-12 06:46 | 3 | 2 | 0 | 65.1 | 69.67 | 87.45 | 44.1 | 332.44 | 241.16 | 871.8349 | 778.3302 | 1650.1651
62 | 2021-03-12 06:47 | 3 | 2 | 0 | 65.3 | 69.59 | 92.93 | 44 | 299.63 | 231.95 | 50.5802 | 34.7403 | 85.3205
63 | 2021-03-12 06:48 | 3 | 2 | 0 | 65.1 | 69.73 | 91.91 | 44 | 321.35 | 234.91 | 50.4927 | 34.9385 | 85.4312
64 | 2021-03-12 06:49 | 3 | 2 | 0 | 65.2 | 69.92 | 87.23 | 44.1 | 351.86 | 238.85 | 315.2475 | 221.6916 | 536.9391
65 | 2021-03-12 06:50 | 3 | 2 | 0 | 65.2 | 69.94 | 84.27 | 44.2 | 362.19 | 242.54 | 1025.7353 | 950.9696 | 1976.7049
66 | 2021-03-12 06:51 | 3 | 2 | 0 | 65.5 | 69.85 | 86.39 | 44.2 | 343.78 | 241.57 | 1075.2898 | 964.5537 | 2039.8436
67 | 2021-03-12 06:52 | 3 | 2 | 0 | 65.4 | 69.8 | 92.17 | 44.2 | 307.3 | 235.94 | 50.2028 | 34.7847 | 84.9875
68 | 2021-03-12 06:53 | 3 | 2 | 0 | 65.4 | 69.84 | 93.25 | 44 | 314.03 | 234.76 | 50.6716 | 34.6423 | 85.3139
69 | 2021-03-12 06:54 | 3 | 2 | 0 | 65.4 | 70.07 | 87.54 | 44.2 | 355.11 | 243 | 65.0814 | 48.6311 | 113.7126
70 | 2021-03-12 06:55 | 3 | 2 | 0 | 65.6 | 70.12 | 84.73 | 44.3 | 372.35 | 242.28 | 948.1713 | 884.3556 | 1832.5268
71 | 2021-03-12 06:56 | 3 | 2 | 0 | 65.6 | 70.02 | 83.82 | 44.2 | 369.93 | 245.3 | 1197.7221 | 1078.6762 | 2276.3983
72 | 2021-03-12 06:57 | 3 | 2 | 0 | 65.6 | 69.92 | 91.59 | 44.2 | 310.66 | 235.78 | 146.2706 | 121.4885 | 267.7591
73 | 2021-03-12 06:58 | 3 | 2 | 0 | 65.6 | 69.97 | 94.59 | 44.2 | 299.68 | 235.38 | 50.6312 | 34.6746 | 85.3058
74 | 2021-03-12 06:59 | 3 | 2 | 0 | 65.7 | 70.16 | 88.76 | 44.3 | 346.38 | 238.04 | 50.6638 | 35.0064 | 85.6702
75 | 2021-03-12 07:00 | 3 | 2 | 0 | 65.7 | 70.27 | 85.57 | 44.3 | 369.34 | 246.89 | 733.2551 | 683.2775 | 1416.5326
76 | 2021-03-12 07:01 | 3 | 2 | 0 | 65.8 | 70.23 | 83.45 | 44.3 | 371.28 | 248.68 | 1155.1411 | 1047.4579 | 2202.599
77 | 2021-03-12 07:02 | 3 | 2 | 0 | 65.9 | 70.11 | 89.93 | 44.2 | 317.98 | 235.38 | 392.597 | 343.1777 | 735.7747
78 | 2021-03-12 07:03 | 3 | 2 | 0 | 65.8 | 70.1 | 94.83 | 44 | 301.63 | 234.05 | 50.3582 | 34.7651 | 85.1233
79 | 2021-03-12 07:04 | 3 | 2 | 0 | 65.9 | 70.29 | 89.93 | 44.2 | 341.06 | 242.69 | 50.1835 | 34.901 | 85.0845
80 | 2021-03-12 07:05 | 3 | 2 | 0 | 65.9 | 70.44 | 86.3 | 44.2 | 357.94 | 243.46 | 625.8229 | 519.2302 | 1145.0532
81 | 2021-03-12 07:06 | 3 | 2 | 0 | 66 | 70.38 | 82.97 | 44.2 | 371.28 | 247.81 | 1108.4382 | 1012.4966 | 2120.9348
82 | 2021-03-12 07:07 | 3 | 2 | 0 | 66.2 | 70.28 | 88.68 | 44.3 | 325.13 | 238.8 | 648.7621 | 573.2187 | 1221.9808
83 | 2021-03-12 07:08 | 3 | 2 | 0 | 66.1 | 70.2 | 94.22 | 44.4 | 292.25 | 239.52 | 50.6423 | 34.7463 | 85.3886
84 | 2021-03-12 07:09 | 3 | 2 | 0 | 66.1 | 70.39 | 91.17 | 44.5 | 334.86 | 241.41 | 50.6966 | 34.6975 | 85.3942
85 | 2021-03-12 07:10 | 3 | 2 | 0 | 66.1 | 70.54 | 86.89 | 44.6 | 356.47 | 245.76 | 293.1761 | 266.9797 | 560.1558
86 | 2021-03-12 07:11 | 3 | 2 | 0 | 66.3 | 70.57 | 84.05 | 44.6 | 376.83 | 249.44 | 1046.7159 | 967.1571 | 2013.873
87 | 2021-03-12 07:12 | 3 | 2 | 0 | 66.3 | 70.46 | 86.97 | 44.7 | 341.77 | 239.83 | 957.4529 | 853.6827 | 1811.1356
88 | 2021-03-12 07:13 | 3 | 2 | 0 | 66.3 | 70.37 | 92.94 | 44.7 | 301.28 | 238.29 | 49.9707 | 34.7849 | 84.7556
89 | 2021-03-12 07:14 | 3 | 2 | 0 | 66.4 | 70.46 | 92.7 | 44.8 | 316.21 | 237.47 | 50.553 | 34.7746 | 85.3276
90 | 2021-03-12 07:15 | 3 | 2 | 0 | 66.3 | 70.64 | 88.11 | 44.9 | 351.16 | 243.2 | 188.7018 | 100.9475 | 289.6493
91 | 2021-03-12 07:16 | 3 | 2 | 0 | 66.4 | 70.66 | 84.49 | 44.9 | 372.35 | 248.32 | 975.6945 | 907.5129 | 1883.2074
92 | 2021-03-12 07:17 | 3 | 2 | 0 | 66.5 | 70.59 | 84.47 | 44.9 | 355.58 | 245.56 | 1212.0591 | 1088.6947 | 2300.7537
93 | 2021-03-12 07:18 | 3 | 2 | 0 | 66.5 | 70.48 | 92.41 | 44.9 | 304.05 | 234.71 | 51.905 | 36.7158 | 88.6208
94 | 2021-03-12 07:19 | 3 | 2 | 0 | 66.4 | 70.54 | 93.94 | 44.8 | 312.38 | 234.45 | 50.1541 | 34.8939 | 85.048
95 | 2021-03-12 07:20 | 3 | 2 | 0 | 66.5 | 70.73 | 89.18 | 44.7 | 345.43 | 239.62 | 51.3053 | 35.3532 | 86.6586
96 | 2021-03-12 07:21 | 3 | 2 | 0 | 66.6 | 70.84 | 85.65 | 44.8 | 367.63 | 244.89 | 774.5518 | 713.6933 | 1488.2451
97 | 2021-03-12 07:22 | 3 | 2 | 0 | 66.8 | 70.78 | 83.24 | 44.9 | 373.82 | 247.86 | 1180.8628 | 1065.2969 | 2246.1596
98 | 2021-03-12 07:23 | 3 | 2 | 0 | 66.8 | 70.64 | 90.77 | 45.2 | 311.43 | 239.26 | 317.0176 | 274.3823 | 591.4
99 | 2021-03-12 07:24 | 3 | 2 | 0 | 66.7 | 70.64 | 94.92 | 45.4 | 297.91 | 235.94 | 50.1463 | 35.0544 | 85.2008
100 | 2021-03-12 07:25 | 3 | 2 | 0 | 66.8 | 70.9 | 89.68 | 45.7 | 342.95 | 239.16 | 50.7585 | 34.9077 | 85.6662
101 | 2021-03-12 07:26 | 3 | 2 | 0 | 66.8 | 71 | 86.07 | 46 | 362.02 | 243.41 | 583.6166 | 478.9406 | 1062.5572
102 | 2021-03-12 07:27 | 3 | 2 | 0 | 67 | 71.01 | 83.25 | 46.2 | 375.12 | 248.93 | 1115.3771 | 1017.2372 | 2132.6143
103 | 2021-03-12 07:28 | 3 | 2 | 0 | 67 | 70.95 | 89.2 | 46.5 | 326.36 | 240.7 | 620.4741 | 546.7441 | 1167.2182
104 | 2021-03-12 07:29 | 3 | 2 | 0 | 67 | 70.88 | 94.72 | 46.7 | 293.55 | 234.91 | 50.8793 | 34.9735 | 85.8529
105 | 2021-03-12 07:30 | 3 | 2 | 0 | 66.9 | 71.08 | 91.32 | 47 | 332.09 | 242.54 | 50.6685 | 34.7275 | 85.396
106 | 2021-03-12 07:31 | 3 | 2 | 0 | 66.9 | 71.25 | 87.6 | 47.3 | 356.65 | 241.67 | 279.0155 | 187.1931 | 466.2086
107 | 2021-03-12 07:32 | 3 | 2 | 0 | 67.2 | 71.28 | 84.38 | 47.5 | 371.52 | 244.38 | 1024.8911 | 949.1309 | 1974.0219
108 | 2021-03-12 07:33 | 3 | 2 | 0 | 67.2 | 71.24 | 86.71 | 47.7 | 340.12 | 242.03 | 1037.1733 | 923.0707 | 1960.2441
109 | 2021-03-12 07:34 | 3 | 2 | 0 | 67.2 | 71.13 | 93.53 | 47.9 | 293.9 | 231.38 | 50.2223 | 34.2655 | 84.4878
110 | 2021-03-12 07:35 | 3 | 2 | 0 | 67.2 | 71.22 | 93.88 | 48.1 | 304.05 | 229.24 | 50.5051 | 35.0761 | 85.5812
111 | 2021-03-12 07:36 | 3 | 2 | 0 | 67.2 | 71.46 | 89.36 | 48.3 | 346.08 | 238.6 | 50.664 | 35.3535 | 86.0175
112 | 2021-03-12 07:37 | 3 | 2 | 0 | 67.2 | 71.57 | 86.2 | 48.4 | 369.16 | 246.89 | 590.9591 | 547.3512 | 1138.3104
113 | 2021-03-12 07:38 | 3 | 2 | 0 | 67.4 | 71.57 | 83.48 | 48.6 | 379.25 | 247.6 | 1151.5031 | 1043.4799 | 2194.9831
114 | 2021-03-12 07:39 | 3 | 2 | 0 | 67.4 | 71.48 | 90.89 | 48.7 | 316.33 | 238.6 | 485.6919 | 424.2531 | 909.9451
115 | 2021-03-12 07:40 | 3 | 2 | 0 | 67.3 | 71.47 | 96.01 | 48.8 | 280.38 | 225.6 | 50.172 | 34.6236 | 84.7956
116 | 2021-03-12 07:41 | 3 | 2 | 0 | 67.4 | 71.65 | 91.93 | 49 | 313.79 | 231.95 | 50.7404 | 34.9515 | 85.6919
117 | 2021-03-12 07:42 | 3 | 2 | 0 | 67.4 | 71.83 | 88.13 | 49.1 | 349.15 | 240.64 | 50.6727 | 34.5759 | 85.2486
118 | 2021-03-12 07:43 | 3 | 2 | 0 | 67.6 | 71.87 | 85.48 | 49.4 | 366.62 | 246.73 | 957.8675 | 887.1944 | 1845.0619
119 | 2021-03-12 07:44 | 3 | 2 | 0 | 67.6 | 71.82 | 86.05 | 49.4 | 354.93 | 245.4 | 1245.9883 | 1110.7629 | 2356.7512
120 | 2021-03-12 07:45 | 3 | 2 | 0 | 67.6 | 71.72 | 93.5 | 49.7 | 294.37 | 229.54 | 54.8398 | 39.473 | 94.3127
121 | 2021-03-12 07:46 | 3 | 2 | 0 | 67.7 | 71.78 | 95.59 | 49.8 | 287.58 | 229.49 | 50.8135 | 34.6311 | 85.4445
122 | 2021-03-12 07:47 | 3 | 2 | 0 | 67.6 | 72.04 | 90.57 | 50 | 337.93 | 237.37 | 51.204 | 34.6775 | 85.8815
123 | 2021-03-12 07:48 | 3 | 2 | 0 | 67.7 | 72.15 | 87.41 | 50.2 | 369.69 | 239.26 | 230.8275 | 204.3594 | 435.187
124 | 2021-03-12 07:49 | 3 | 2 | 0 | 67.8 | 72.16 | 84.57 | 50 | 366.62 | 238.5 | 1069.742 | 981.4262 | 2051.1682
125 | 2021-03-12 07:50 | 3 | 2 | 0 | 68 | 72.09 | 87.96 | 50.2 | 327.07 | 236.35 | 979.0386 | 865.3744 | 1844.413
126 | 2021-03-12 07:51 | 3 | 2 | 0 | 67.9 | 72 | 94.96 | 50.2 | 263.32 | 215.37 | 49.1829 | 33.2068 | 82.3897
127 | 2021-03-12 07:52 | 3 | 2 | 0 | 67.8 | 72.08 | 94.58 | 50.2 | 281.56 | 219.41 | 50.2564 | 34.6285 | 84.8849
128 | 2021-03-12 07:53 | 3 | 2 | 0 | 67.9 | 72.2 | 90.94 | 50.5 | 309.13 | 220.54 | 51.1718 | 35.0156 | 86.1875
129 | 2021-03-12 07:54 | 3 | 2 | 0 | 67.9 | 72.37 | 87.36 | 50.7 | 368.63 | 232.31 | 336.0403 | 242.3901 | 578.4305
130 | 2021-03-12 07:55 | 3 | 2 | 0 | 67.9 | 72.38 | 84.76 | 50.8 | 379.08 | 240.8 | 1051.8433 | 969.3905 | 2021.2338
131 | 2021-03-12 07:56 | 3 | 2 | 0 | 68.1 | 72.3 | 87.88 | 50.8 | 335.4 | 244.99 | 967.4062 | 858.6791 | 1826.0853
132 | 2021-03-12 07:57 | 3 | 2 | 0 | 68.1 | 72.28 | 95.51 | 50.7 | 296.14 | 237.63 | 50.8901 | 34.9563 | 85.8463
133 | 2021-03-12 07:58 | 3 | 2 | 0 | 67.9 | 72.4 | 94.85 | 50.7 | 317.22 | 236.14 | 50.7617 | 34.8161 | 85.5778
134 | 2021-03-12 07:59 | 3 | 2 | 0 | 68 | 72.66 | 89.93 | 50.4 | 352.22 | 244.69 | 50.9316 | 35.172 | 86.1037
135 | 2021-03-12 08:00 | 3 | 2 | 0 | 68.2 | 72.74 | 87.02 | 50.7 | 374.35 | 249.14 | 427.726 | 353.3185 | 781.0444
136 | 2021-03-12 08:01 | 3 | 2 | 0 | 68.2 | 72.75 | 85.06 | 50.8 | 376.72 | 256.55 | 1099.747 | 1004.0988 | 2103.8459
137 | 2021-03-12 08:02 | 3 | 2 | 0 | 68.2 | 72.62 | 89.12 | 50.7 | 327.55 | 240.03 | 780.5839 | 686.6456 | 1467.2295
138 | 2021-03-12 08:03 | 3 | 2 | 0 | 68.3 | 72.55 | 95.55 | 50.7 | 283.51 | 219.16 | 50.5859 | 34.9616 | 85.5475
139 | 2021-03-12 08:04 | 3 | 2 | 0 | 68.2 | 72.68 | 94.71 | 50.8 | 302.28 | 221.92 | 50.8907 | 34.6489 | 85.5397
140 | 2021-03-12 08:05 | 3 | 2 | 0 | 68.3 | 72.89 | 90.5 | 50.9 | 353.28 | 235.02 | 50.5986 | 34.1437 | 84.7423
141 | 2021-03-12 08:06 | 3 | 2 | 0 | 68.6 | 72.97 | 86.96 | 50.9 | 372.94 | 233.79 | 457.0311 | 419.7687 | 876.7998
142 | 2021-03-12 08:07 | 3 | 2 | 0 | 68.6 | 72.94 | 84.69 | 50.9 | 344.72 | 219.06 | 1143.2799 | 1037.3537 | 2180.6336
143 | 2021-03-12 08:08 | 3 | 2 | 0 | 68.8 | 72.83 | 88.99 | 51.1 | 303.76 | 215.94 | 707.4316 | 614.123 | 1321.5545
144 | 2021-03-12 08:09 | 3 | 2 | 0 | 68.7 | 72.75 | 95.26 | 51.1 | 235.52 | 192.25 | 47.8584 | 32.1219 | 79.9804
145 | 2021-03-12 08:10 | 3 | 2 | 0 | 68.6 | 72.77 | 95.03 | 51.4 | 246.09 | 181.76 | 49.0429 | 33.5424 | 82.5854
146 | 2021-03-12 08:11 | 3 | 2 | 0 | 68.7 | 72.83 | 91.62 | 51.3 | 298.98 | 192.91 | 50.0109 | 33.7995 | 83.8103
147 | 2021-03-12 08:12 | 3 | 2 | 0 | 68.7 | 72.95 | 88.54 | 51.3 | 330.02 | 198.29 | 49.2137 | 32.9071 | 82.1208
148 | 2021-03-12 08:13 | 3 | 2 | 0 | 68.9 | 72.96 | 85.99 | 51.4 | 342.13 | 210.15 | 1012.7504 | 904.2872 | 1917.0376
149 | 2021-03-12 08:14 | 3 | 2 | 0 | 69 | 72.9 | 85.35 | 51.3 | 292.19 | 195.01 | 1335.0293 | 1171.5423 | 2506.5716
150 | 2021-03-12 08:15 | 3 | 2 | 0 | 69 | 72.8 | 93.11 | 51.3 | 240.72 | 187.18 | 66.0851 | 48.9969 | 115.082
151 | 2021-03-12 08:16 | 3 | 2 | 0 | 69 | 72.78 | 97.03 | 51.3 | 231.45 | 179.26 | 48.4564 | 31.725 | 80.1814
152 | 2021-03-12 08:17 | 3 | 2 | 0 | 69.1 | 72.86 | 93.79 | 51.7 | 257.3 | 179.97 | 48.1586 | 31.9015 | 80.0601
153 | 2021-03-12 08:18 | 3 | 2 | 0 | 69.3 | 72.96 | 90.8 | 51.8 | 263.26 | 179.2 | 48.1823 | 31.985 | 80.1672
154 | 2021-03-12 08:19 | 3 | 2 | 0 | 69.3 | 72.96 | 88.56 | 51.9 | 280.15 | 191.43 | 47.4787 | 31.6234 | 79.1021
155 | 2021-03-12 08:20 | 3 | 2 | 0 | 69.5 | 72.97 | 86.75 | 52.2 | 262.79 | 174.04 | 47.7715 | 31.5078 | 79.2793
156 | 2021-03-12 08:21 | 3 | 2 | 0 | 69.5 | 72.9 | 84.93 | 52.4 | 265.8 | 174.8 | 47.7706 | 30.8267 | 78.5973
157 | 2021-03-12 08:22 | 3 | 2 | 0 | 69.5 | 72.84 | 83.44 | 52.6 | 232.86 | 159.05 | 47.004 | 30.7741 | 77.7781
158 | 2021-03-12 08:23 | 3 | 2 | 0 | 69.4 | 72.77 | 82.2 | 52.4 | 228.2 | 150.97 | 47.117 | 30.7145 | 77.8315
159 | 2021-03-12 08:24 | 3 | 2 | 0 | 69.5 | 72.68 | 80.38 | 52.6 | 234.05 | 155.16 | 47.5785 | 30.8388 | 78.4173
160 | 2021-03-12 08:25 | 3 | 2 | 0 | 69.6 | 72.61 | 79.15 | 53 | 232.81 | 158.38 | 47.2722 | 31.0095 | 78.2818
161 | 2021-03-12 08:26 | 3 | 2 | 0 | 69.8 | 72.56 | 77.92 | 53 | 231.57 | 157.72 | 46.9475 | 30.6273 | 77.5748
162 | 2021-03-12 08:27 | 3 | 2 | 0 | 69.9 | 72.5 | 77.29 | 53 | 198.69 | 142.52 | 47.1882 | 30.0011 | 77.1893
163 | 2021-03-12 08:28 | 3 | 2 | 0 | 70.1 | 72.44 | 76.26 | 52.9 | 198.81 | 146.82 | 46.8378 | 30.2668 | 77.1046
164 | 2021-03-12 08:29 | 3 | 2 | 0 | 70.1 | 72.39 | 75.89 | 53.2 | 160.38 | 129.38 | 46.5289 | 29.86 | 76.3889
165 | 2021-03-12 08:30 | 3 | 2 | 0 | 70.2 | 72.29 | 75.26 | 53.9 | 157.72 | 129.07 | 46.8725 | 30.0668 | 76.9393
166 | 2021-03-12 08:31 | 3 | 2 | 0 | 70.2 | 72.26 | 74.76 | 54.6 | 141.49 | 123.14 | 46.4772 | 30.1655 | 76.6427
167 | 2021-03-12 08:32 | 3 | 2 | 0 | 70.2 | 72.18 | 74.21 | 54.5 | 143.26 | 93.93 | 46.256 | 29.8866 | 76.1426
168 | 2021-03-12 08:33 | 3 | 2 | 0 | 70.3 | 72.17 | 73.82 | 54.5 | 137.06 | 105.54 | 46.609 | 30.1961 | 76.8051
169 | 2021-03-12 08:34 | 3 | 2 | 0 | 70.3 | 72.09 | 73.24 | 54 | 133.05 | 63.08 | 46.5323 | 29.9017 | 76.434
170 | 2021-03-12 08:35 | 3 | 2 | 0 | 70.3 | 72.04 | 72.82 | 53.7 | 122.31 | 67.43 | 46.1936 | 29.3108 | 75.5044
171 | 2021-03-12 08:36 | 3 | 2 | 0 | 70.3 | 71.98 | 72.22 | 53.4 | 127.68 | 70.8 | 46.7475 | 29.681 | 76.4286
172 | 2021-03-12 08:37 | 3 | 2 | 0 | 70.3 | 71.97 | 71.72 | 53.8 | 135.59 | 59.8 | 46.599 | 29.6083 | 76.2073
173 | 2021-03-12 08:38 | 3 | 2 | 0 | 70.4 | 71.95 | 71.37 | 54.1 | 130.04 | 65.43 | 46.5097 | 29.4932 | 76.0029
174 | 2021-03-12 08:39 | 3 | 2 | 0 | 70.4 | 71.89 | 70.84 | 54.6 | 136.12 | 62.26 | 46.2794 | 29.7334 | 76.0127
175 | 2021-03-12 08:40 | 3 | 2 | 0 | 70.4 | 71.89 | 70.41 | 54.8 | 136.71 | 62.72 | 45.9849 | 29.8572 | 75.8421
176 | 2021-03-12 08:41 | 3 | 2 | 0 | 70.4 | 71.88 | 70.04 | 54.8 | 137.71 | 60.88 | 46.3311 | 29.7167 | 76.0478
177 | 2021-03-12 08:42 | 3 | 2 | 0 | 70.5 | 71.88 | 69.72 | 54.7 | 135.47 | 62.21 | 46.5795 | 29.6864 | 76.2659
178 | 2021-03-12 08:43 | 3 | 2 | 0 | 70.5 | 71.89 | 69.24 | 54.7 | 141.08 | 57.5 | 46.4952 | 29.2352 | 75.7304
179 | 2021-03-12 08:44 | 3 | 2 | 0 | 70.5 | 71.89 | 68.97 | 54.7 | 132.81 | 66.91 | 46.4391 | 29.2816 | 75.7207
180 | 2021-03-12 08:45 | 3 | 2 | 0 | 70.5 | 71.91 | 68.69 | 55.2 | 135.88 | 62.46 | 46.3212 | 29.4362 | 75.7574